PREVENTIVE MAINTENANCE OF ELECTRONIC BALANCE

| Equipment / Instrument Code No…………………………….. Location: …………………… Done Date: ……………… Next due date…………… |  |  |  |  |
| --- | --- | --- | --- | --- |
| Frequency for Preventive Maintenance : Three Months |  |  |  |  |
| S. No. | Check Points | Standard/ Range | Observation | Action (If Required) |
| 1. | Check all electrical connections for loose and burnout | Should be Intact |  |  |
| 2. | Check floor leveling gauge | Should be in Centre |  |  |
| 3. | Check display unit for displaying digits | Display should be proper |  |  |
| 4. | Check keypad for any malfunctioning | Proper responding |  |  |
| 5 | Check overall performance of machine | Should be in Working condition |  |  |
| Entry made in the Log Book (if Applicable) :- (Yes / No)_____________ Conclusion: __________________________________________________________________________ _____________________________________________________________________________________ Technician Signature with Name: User H.O.D Comments:_________________________________________________________________ Maintenance Head Comments (If Any)____________________________________________________ USER HOD SIGNATURE………………….. MAINTENANCE HOD SIGNATURE…………… |  |  |  |  |

Preventive maintenance Checklist No.: KHPL/PMT/002	Revision No.: R-00