| Equipment/ Instrument Code No.: …………………………….. Location: …………………….. Done Date…………………………. Next due date: ……………….. |  |  |  |  |
| --- | --- | --- | --- | --- |
| Frequency for Preventive Maintenance: Three Months |  |  |  |  |
| S. No. | Check Points | Standard/ Range | Observation | Action (If Required) |
| 1 | Check all electrical connections for loose and burnout | Should be Intact |  |  |
| 2 | Check heaters for its continuity and proper working | Should be Working |  |  |
| 3 | Check Thermostats sensing & functioning for desired temperature | Should be Responding and working |  |  |
| 4 | Check overall performance of the machine at working temperature | Should be Working |  |  |

Entry made in the Log Book (if Applicable) :- (Yes / No)_____________ Conclusion: ______________________________________________________________________________ __________________________________________________________________________________________ Technician Signature with Name: User H.O.D Comments:_________________________________________________________________ Maintenance Head Comments (If Any)____________________________________________________ USER HOD SIGNATURE………………….. MAINTENANCE HOD SIGNATURE……………

Preventive maintenance Checklist No.: KHPL/PMT/003	Revision No. : R-00