# PREVENTIVE MAINTENANCE OF LT PANEL

| Equipment / Instrument Code No…………………………….. Location: …………………… Done Date……………… Next due date…………… |  |  |  |  |
| --- | --- | --- | --- | --- |
| Frequency for Preventive Maintenance : Six Months |  |  |  |  |
| Sr. No. | Check Points | Standard/ Range | Observation | Action (If Required) |
|  | Check all electrical LT connections & input output breakers for loose and burnout inside panel | Should be Intact |  |  |
|  | Check capacitor bank for their operational currents on each capacitor | Should be 8 - 15 Amps. |  |  |
|  | Check all indicating meters, push buttons, and selector switch, change over switches (ACB, MCCB) for their proper functioning. | Should be in Working condition |  |  |
|  | General cleaning with cloth& compressed dry air | Should be Clean |  |  |
| Entry made in the Log Book (if Applicable) :- (Yes / No)_____________ Conclusion: __________________________________________________________________________ _____________________________________________________________________________________ Technician Signature with Name: User H.O.D Comments:_________________________________________________________________ Maintenance Head Comments (If Any)____________________________________________________ USER HOD SIGNATURE………………….. MAINTENANCE HOD SIGNATURE…………… |  |  |  |  |

Preventive maintenance Checklist No.: KHPL/PMT/005	Revision No. : R-00