PREVENTIVE MAINTENANCE OF INSECTICUTORS

| Equipment / Instrument Code No…………………………….. Location: …………………… Done Date……………… Next due date…………… |  |  |  |  |
| --- | --- | --- | --- | --- |
| Frequency for Preventive Maintenance : Three Months |  |  |  |  |
| Sr. No. | Check Points | Standard/ Range | Observation | Action (If Required) |
|  | Check all electrical connection for loose and burnout | Should be intact |  |  |
|  | Check Starter of tube light | Should be working properly |  |  |
|  | Check choke of tube light | Should be working properly |  |  |
|  | Check fasteners & nut bolts | Should be properly tight |  |  |
|  | Check overall performance | Should be working properly |  |  |
| Entry made in the Log Book (if Applicable) :- (Yes / No)_____________ Conclusion: __________________________________________________________________________ _____________________________________________________________________________________ Technician Signature with Name: User H.O.D Comments:_________________________________________________________________ Maintenance Head Comments (If Any)____________________________________________________ USER HOD SIGNATURE………………….. MAINTENANCE HOD SIGNATURE…………… |  |  |  |  |

Preventive maintenance Checklist No.: KHPL/PMT/006	Revision No.: R-00