| Equipment / Instrument Code No:-…………………….. Location: …………………… Done Date……………… Next due date…………… |  |  |  |  |
| --- | --- | --- | --- | --- |
| Frequency for Preventive Maintenance : Six Months |  |  |  |  |
| S. No. | Check Points | Standard/ Range | Observation | Action (If Required) |
|  | Check electrical connections for loose and burnout. | Should be Intact |  |  |
|  | Check all mountings nut & bolts. | Tight & intact |  |  |
|  | Check proper functioning of the chock & starter. | Should be Working |  |  |
|  | Check both ends of the fluorescent tube for black spots. | Should be Clean & white |  |  |
|  | Check general cleaning with the help of cloth. | Should be Clean & clear |  |  |
| Entry made in the Log Book (if Applicable) :- (Yes/ No)_____________ Conclusion: __________________________________________________________________________ _____________________________________________________________________________________ Technician Signature with Name:_________________________________________________________ User H.O.D Comments:_________________________________________________________________ Maintenance Head Comments (If Any)____________________________________________________ USER HOD SIGNATURE………………….. MAINTENANCE HOD SIGNATURE…………… |  |  |  |  |

Preventive maintenance Checklist No.: KHPL/PMT/008	Revision No. : R-00