| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  | Management Representative |  |  |
| Approver |  | Director |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

This procedure provides a method of periodic review of the quality system by management (including quality policy and quality objectives) to ensure its continuing suitability, adequacy and effectiveness.

- SCOPE

This procedure applies to all quality improvement system elements and management staff involved at Kyron Healthcare.

- REFERENCES

  - External Documents

    - ISO 13485:2016

  - Related Documents

    - Quality Manual

- DEFINITIONS

NA

- RESPONSIBILITY

  - The Management Review Board is responsible for management review of the quality system and applicable regulatory requirements to ensure its continuing suitability and effectiveness.

The Board is represented by the department head of the following departments: -

- Managing Director 			Kiran

- Management Representative  		Sanjeev

- Sales and Marketing  			Rahul Singh

- Human Resource   			Situn

- Quality Assurance / Regulatory Affairs 	Kiran

- Research & Development  		Rajan

- Manufacturing  				shiva

5.2 The Management review is chaired by Management Representative is to be actively participate by board members to provide positive contribution to the meeting.

5.3   Minutes of Meeting shall be recorded by the management representative.

5.4   Meeting minutes and attendance record shall be maintained.

- PROCEDURES

  - Frequency
Management review shall be conducted at least twice annually and can also be conducted at any time to ensure all aspects of the quality system adopted are effective and practical.

  - Review Objectives

    - Ensuring that processes needed for the quality management system are established, implemented and maintained.

    - Reporting to top management on the performance of the quality management system and any need for improvement.

    - Ensuring the promotion of awareness of regulatory and customer requirement throughout organization.

  - Management Review Inputs
The scope of the management review meeting shall include but not limited to:

    - Follow-up action from previous management review.

    - Customer feedback, complaint, post market surveillance result and service report (if applicable).

    - Reporting to regulatory authorities.

    - Results of internal and external audits.

    - Monitoring and measurement of process.

    - Monitoring and measurement of product.

    - Corrective and preventive action.

    - Changes that could affect the quality management system.

    - Recommendations for improvement (the need for changes to the quality management system, including the quality policy and quality objectives)

    - Applicable new or revised regulatory requirements.

    - Review of risk management activities.

    - Adequacy of organization structure.

    - Conclusion about the effectiveness and continued suitability of the quality management system.

  - Management Review Outputs
The output arising from the review meeting shall include the input reviewed and any decisions and actions related to:

    - Improvements needed to maintain the suitability, adequacy and effectiveness of the quality management system and its processes.

    - Improvement of product related to customer requirements.

    - Notification to regulatory authority for any key changes

    - Notification to notification body for any key changes.

    - Outcome/Conclusion/Status/Resource needs.

  - Distribution of Minutes of Meeting
Minutes of the management review meeting shall be signed by all the attendees. Meeting Minutes & Attendance Sheet shall be maintained as quality record by the QA Department.

  - Follow-Up
Management Representative shall ensure that all corrective and preventive actions of the review are successfully implemented. Whenever required, Management Representative shall coordinate with respective departments to fulfil the task.

  - Quality Improvement Mechanism
   The action taken as the result of the meeting shall be reviewed in the next management

review meeting. The effectiveness of the action taken shall be determined and

subsequent actions (if required) shall be established for quality improvement.

- RECORD
7.1 FM-01001   Management Review Report

7.2 FM-01002   Meeting Minutes & Attendance Sheet

7.3 FM-01003   Management Representative Appointment Letter

7.4 FM-01004   Management Representative Schedule

- APPENDIX

NA