| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

## DESIGN INPUT REQUIREMENTS:

- INTENDED USE:

2.  Functional Requirements:

| S.No | Input | Specifications |
| --- | --- | --- |
| 1 | Design of |  |
| 2 | Design of |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |
| 7 |  |  |
| 8. |  |  |

3.  Performance Requirements:

| S.No | Input | Specifications |
| --- | --- | --- |
| 3.1 | Performance Equivalence to existing device |  |
| 3.2 | Precision (in-house validation) and Accuracy (clinical validation) |  |
| 3.3 |  |  |

4.  Usability Requirements:

| S.No | Input | Specifications |
| --- | --- | --- |
| 4.1 | Minimal training requirement, in a clinical laboratory testing center. | - Safe and easy to perform as per the instruction of the IVD by a trained person at a testing lab. - Provide the reliable results matching with kit specifications. |
| 4.2 |  |  |
| 4.3 |  |  |

5.  Safety Requirements:

| S.No | Input | Specifications |
| --- | --- | --- |
| 5.1 | Non Hazardous components included |  |

6. Design Considerations:

| S.No | Input | Specifications |
| --- | --- | --- |
| 6.1 | Usability |  |
| 6.2 | Compatibility |  |
| 6.3 | Sensitivity |  |
| 6.4 | Transport ease |  |
| 6.5 | Safety | Reduced hazardous chemicals |

7. Regulatory Considerations:

| S.No | Input | Specifications |
| --- | --- | --- |
| 7.1 | Kits should be manufactures as per the quality requirements from ISO13485 and CDSCO Medical Device Regulations (MDR) | ISO13485 Guidelines and, safety standards as per ISO 16142-1:2016 and risk management standards as per ISO14971 |
| 7.2 | IFU prepared as per the Regulatory point of view Labelling of the Kit and Individual components. | ISO13485 Guidelines and CDSCO guidelines, CLSi guidelines and labeling requirements under GHTF guidelines and Rule 96 of the Drugs and Cosmetic Act |
| 7.3 | Marketing in India and Europe | ICMR approval, Certification of CDSCO, MD7 License and CE certification for Europe |

8. Other Inputs:

| S.No | Input | Specifications |
| --- | --- | --- |
| 8.1 | Shelf-life |  |
| 8.2 | Low Cost |  |

9. PHYSICAL CHARACTERISTICS:

10. INTERFACE SPECIFICATIONS:

11. ENVIRONMENT SPECIFICATIONS: Device used should be non hazardous.

12. LABELLING AND PACKAGING REQUIREMENTS: Device and components will be labelled following the standard guidelines and it will be packed using verified packing material.

13. STORAGE REQUIREMENTS:

14. MANUFACTURING PROCESS: The manufacturing process meets the requirements of the GMP and has been designed to provide assurance of the effectiveness of each step of the production.

Manufacturing area:

The area is performed in the Clean room area.

- Receiving of raw materials as per defined quality specifications from approved vendor list

- Labelling

- Device to be used based on First in First out (FIFO) basis

- Quality control of the prepared formulation

- Interim Quality control check

- Assembly Primary & secondary packing

- Storage of finished product

- Dispatch

16. MEASURING AND MONITORING EQUIPMENT:

The equipment used will be pre calibrated and standard ones.

17. DESIGN RISK CONTROL MEASURES:

The risk management plan which is written according to   ISO 14971: 2019, provides guidance for the risk management activities throughout the entire life cycle, including in the stages of R&D, product realization, post-market surveillance.

| Hazard no. | Hazardous event | Risk control measure |
| --- | --- | --- |
| H.2.5.4.1 | What is the possibility that an incorrect result would be generated by the IVD medical device? - In a likely fault mode? |  |
|  | - In normal use? |  |
|  | - In reasonably foreseeable misuse? |  |
| H.2.5.4.2 | What is the possibility that the improper quality would be isolated by a user/laboratory? |  |
|  | Are controls integrated into the kit to detect the fault condition? |  |
|  | - How effective would the controls be in detecting the fault condition? |  |
|  | - Are there other quality assurance measures that might detect the incorrect result (e.g., critical value system, plausibility checks)? |  |
|  | - Would error messages allow a user to correct the problem and obtain a valid examination result upon re-examination? For example, the message "E-1" on an instrument for self-testing is intended to prompt the user to repeat the examination. |  |
|  | - If the device is intended for laboratory use, do laboratories have effective systems for detecting such an incorrect result? |  |

18. ADVERSE EVENTS DESIGN INPUTS: Not observed.

19. REFERENCES FROM PREVIOUS DESIGN:

20. TRAINING REQUIREMENTS FOR CUSTOMERS

This product does not require additional training the IFU and manual provided were self-explanatory and can be performed by any trained clinical technician or R & D personnel.

21. STERILISATION REQUIREMENTS

22. RELIABILITY REQUIREMENTS:

Performance of the device, sensitivity, compatibility, real time stability and accelerated stability and clinical validation are required and will be tested accordingly.

23. TOXICITY AND BIOCOMPATIBILITY

24. ACCESSORIES AND CONSUMABLES

25. OTHER REQUIREMENTS:

NA

| Document Approval for the Form |  |  |  |
| --- | --- | --- | --- |
|  | Date: Sign: |  | Date: Sign |