| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

  - This procedure defines the process to select, evaluate and approve suppliers to ensure that supplier has the ability to meet Kyron requirements for purchased product and services.

  - To qualify supplier before they are entered into the Approved Supplier List (ASL).

  - To monitor the supplier’s performance to ensure their continuous ability to meet Kyron  requirements.

- SCOPE

This document applies to all potential suppliers or supplier providing products and services to Kyron .

- REFERENCES

3.1 	External Documents

3.1.1.	EN ISO 13485:2016

  - Parent Documents

    - Quality Manual

    - QS-08-QA   Purchasing Control Procedure

    - QS-15-QA   Corrective and Preventive Action Procedure

- DEFINITIONS

| Product | Any purchased raw material, material, component and finished devices. |
| --- | --- |
| Services | Any qualified/certified contracted activity that may affect product quality or quality management system (e.g. contract manufacturing, warehousing, distribution, laboratory testing, calibration, pest control, consultancy, etc.) |
| ASL | Approved Supplier List |
| QA HOD | Quality Assurance Head Of Department |

- RESPONSIBILITY

  - QA Department is responsible;

5.1.1 To evaluate and qualified/disqualified suppliers.

5.1.2 To execute this procedure and maintain ASL.

5.1.3 Monitor supplier performance and perform vendor re-assessment

5.1.4 Maintain all records.

5.1.5 HOD to approves the result of evaluation.

5.1.6 Inform Notified Body if there is any new major contract manufacturer.

- PROCEDURES

  - New Supplier Selection, Evaluation, Risk Analysis and Approval

    - When initially determining the source for new products or services, existing approved suppliers on the ASL(FM-10002) should be considered.

    - If a new supplier is required, select a supplier based on the operational and technical capabilities of the supplier. Criteria for selection, evaluation and re-evaluation are defined in Annex A.

6.1.3 	Suppliers will initially be evaluated based upon the following risk factors using the following table are defined in Annex B. The type and extent of evaluation for a supplier will be dependent upon the type of the product or service purchased and its impact on the quality of the finished product and or quality system. If a supplier fits the criteria of more than one level, the higher level shall be assigned, the following table also describes the minimum quality requirements that Kyron demand from its suppliers.

    - The result of the evaluation and any action raised during evaluation shall be updated in Supplier Evaluation Report (FM-10001)

    - Identify type and extend of control to supplier.

    - Record of the evaluation and relevant supporting documents shall be maintained.

    - If a quality agreement or other form of purchasing document is drafted as part of the control, it shall contain the following elements:

  - Product specifications

  - Requirements for product acceptance, procedures, processes and equipment

  - Requirements for qualifications of supplier personnel

  - Quality management requirements

  - Traceability requirements for documents

  - Purchasing and quality control of components required for production

  - Supplier to notify Kyron  any changes to the product that might affect the quality of the product before implementation

  - Supplier will allow unannounced audit by Kyron notified body (For CE finished device)

    - Update Approved Supplier List after suppliers have been qualified.

  - Changes

Any change in documented supplier information and product/service supply, requester shall update the Supplier Evaluation Report (FM-10001), may subjected to re-evaluation.

  - Supplier Performance Monitoring (Re-evaluation)

6.3.1 Frequency of re-evaluation is defined in Annex A.

6.3.2 The performance of the supplier shall be evaluated based on the following:

- Maintaining of appropriate certification/accreditation

- On Time Delivery

- Quality

- Customer Service

- Documentation (COA/COC and delivery documents)

6.3.3 Result of this evaluation is recorded in the Supplier Rating Form (FM-10003)

6.3.4 For non-satisfactory performance, further re-evaluation may be required if affecting the product quality, safety and performance.

6.3.5 Record of Supplier Rating Form, ASL and relevant supporting documents shall be maintained by QA Department.

6.4     Action arising from Supplier Evaluation or Re-Evaluation

A corrective and preventive action shall be requested from the supplier if the performance of the product or service is not meeting Kyron requirements according to Corrective and Preventive Actions Procedure (QS-15-QA).

6.5    Supplier Disqualification

6.5.1 Approved suppliers may be disqualified and listed as Unapproved for any of the following conditions but not limited to:

- Failure to meet ongoing monitoring requirements for performance and quality system measures.

- Unethical practice, breach of contract and illegal practice.

6.5.2 Update the conclusion in Supplier Evaluation Report and ASL.

6.6   Supplier Obsolete

6.6.1 Approved supplier may be obsolete due to but not limited to:

- Discontinue business

- Product obsolete

6.6.2 Update the conclusion in Supplier Evaluation Report and ASL.

6.7   Major Contract Manufacturer

Any new major contract manufacturer, Kyron shall Notified Body.

7.0    RECORD

7.1 FM-10001   Supplier Evaluation Report

7.2 FM-10002   Approved Supplier List

7.3 FM-10003   Supplier Rating Form

8.0    APPENDIX

Appendix A – Criteria of Selection, Evaluation, Re-Evaluation/Frequency

#### Appendix B – Supplier first evaluation based on Risk Analysis

Appendix A – Criteria of Supplier Selection, Evaluation, Re-Evaluation/Frequency

| Supplier Category | Evaluation For Selection | Type Of Control | Re-Evaluation/ Frequency |
| --- | --- | --- | --- |
| Supply finished device (OEM or Contract Manufacturer) | 1. Supplier Evaluation Report. 2. Quality System (QSR, ISO 13485) 3. Product Technical Information 4. Product Evaluation and Qualification (where applicable) 5. Factory audit | 1. Quality Agreement 2. Incoming inspection 3. Factory on-site audit | Once a year (Where no factory audit is conducted, justification should be provided) |
| Supply of direct product/material | 1. Supplier Evaluation Report. 2. Quality System (ISO 13485, ISO 9001, GDPMDS) 3. Product Technical Information 4. Product Evaluation and Qualification (where applicable) 5. Factory audit (where applicable) | 1. Quality Agreement 2. Incoming inspection 3. Factory on-site audit (where applicable) | Once a year (Where no factory audit is conducted, justification should be provided) |
| Supply of indirect product/material (Eg. Secondary packaging, labelling, IFU, etc) | 1. Quality System (ISO 9001/GDPMDS, Company policy) 2. Supplier reputation | 1. Incoming verification, or 2. Verification of report, | Not Required |
| 3rd parties services (Testing laboratory, calibration laboratory, consultant, etc) | 1. ISO certificate or Quality System or Reference Standard 2. For calibration house, they should be accredited under SAC-SINGLAS or certified under ISO 17025 or at minimum, calibration method shall be traceable to internationally or nationally recognised standards. 3. For other service providers such as cleaning, pest control or repair and maintenance services, evaluation will be based on their quality of technical expertise and experience in providing the required services. | 1. Certificate verification validity. | Not Required |

#### Appendix B – Supplier first evaluation based on Risk Analysis

| Risk Level | Description of Supplier |
| --- | --- |
| High | Suppliers who provides raw materials, components, subassemblies, finished device and/or services where a non-conformance will likely affect product quality and could cause patient/user harm or result in regulatory non-compliance. Examples include but not limited to those organizations providing parts for implantable devices, critical components, sterilization, calibration, testing, packaging/labelling of finished goods, and warehousing/distribution services. |
| Medium | Supplier who provides raw materials, components, subassemblies, and/or services where non-conformance may affect product quality but is unlikely to cause patient/user harm or regulatory non-compliance. Kyron has internal risk control measures to detect potential non-conformance such as incoming inspection, in-process audits, testing, First Article Inspection, equipment qualification, and process validations. |
| Low | Supplier who provides raw materials, components, and subassemblies that are not for human use or services where non-conformance will not affect product quality, will not cause patient/user harm or regulatory non-compliance. There may or may not be internal risk control measures to detect potential non-conformance. |