| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  | Management Representative |  |  |
| Reviewer / Approver |  | Director |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO 2022-001 | 01 | Initial Release |  |  |

1.0    PURPOSE

The purpose of this procedure is to establish the criteria, methods and responsibilities to conduct internal audit at planned intervals to verify the implementation and effectiveness of the quality management system and regulatory requirements.

2.0    SCOPE

2.1 Internal Quality Audit shall cover all departments/sections and quality system affecting the quality of products and services.

2.2 If departments/sections are operating at 2 or more different sites, internal quality audit shall cover all sites under each department/section.

3.0    REFERENCES

## 3.1 	External Document

## ISO 13485:2016

3.2 		Related Document

3.2.1 Quality Manual

3.2.2 QS-15-QA Corrective and Preventive Actions Procedure

4.0   DEFINITIONS

| Correction | Action to eliminate a detected nonconformity |
| --- | --- |
| Corrective Action | Action to eliminate the cause of a detected nonconformity or other undesirable situation. |
| Conformity | Fulfilment of a requirement. |
| Non-Conformity (NC) | Non-fulfilment of a requirement, non-compliance to established quality system procedures, standards or regulations |
| Opportunity for Improvement | A finding identified during a quality audit regarding an activity that does not directly deviate from a requirement in the standard, documented quality system or customer requirements, but reflects ineffectiveness &/or inefficiency, potential improvement opportunities or may pose the risk of nonconformity (i.e. is itself a potential nonconformity). |

5.0   RESPONSIBILITY

5.1 Management Representative (MR) shall be responsible to:

- Ensures that internal audit program is established and maintained in accordance with the requirements of this procedure and regulations.

- Develops and issues an audit plan and communicates this at the onset of the audit.

- Ensures that the annual audit schedules are prepared and followed.

- Monitors the audit process for effective and timely resolution of audit items.

5.2 Lead Auditor shall be responsible to

- Formally notifies the manager of the audit area when audit is scheduled.

- Completing the audit in the scheduled timeframe.

- Responsible for follow up activities, including verification of effectiveness of actions. taken and reporting to management the verification results.

- Review and approve the Quality Audit Record and Summary Report.

5.3 Auditor/s shall be responsible to

- Conduct and complete the audit in the scheduled timeframe.

- Prepare quality audit summary report.

5.4 Managers / Supervisors / Auditees shall be responsible to

- Develop a corrective action plan to address audit findings expressed in the audit report.

5.5 Quality Assurance (QA) is responsible to maintain all the audit records.

6.0   PROCEDURES

6.1 General

6.1.1 Annual audit schedule is developed and approved by the site Management Representative.

6.1.2 Applicable Standards and Regulations

- ISO 13485:2016

6.1.3 The entire quality management system mentioned above are audited at least annually.

6.1.4 The audit schedule covers all elements of the Company quality system as outlined in the Quality Manual.

6.1.5 A summary of audit findings and status of corrective actions are reviewed by management during management review process.

6.1.6 Prior to conduct of audit, auditor(s) shall evaluate past audit findings and the subsequent actions for effectiveness.

6.1.7 As appropriate, internal audit may carry out when there’s a major change to the organization activities (Eg. Additional of processes)

6.2 Auditor Qualification and Independence

6.2.1 Auditors are qualified through experience, in-house training, self-read standards and procedures and/or certification. Qualifications of auditors are documented in employees training records.

- The Management Representative (MR) will be the lead auditor of the internal audit.

- The auditors should have working experience, trained in ISO 13485 (internally or externally).

6.2.2. Auditors shall not have direct responsibility for or substantial involvement in the area being audited.

6.3 Audit Notification

6.3.1 Prior to performing of an audit, MR will assign the lead auditor and auditors to audit the respective department. Auditor shall not audit his/her own scope of work.

The lead auditor notifies the manager /supervisor of the area scheduled for the audit in writing at least one week before an impending audit.

6.3.2 Internal Audit Notification (FM-13001) shall be prepared by MR and as a minimum contains the following information:

- Area/functions under audit

- Objective of audit

- Scope of audit

- Date and Time of audit

- Reference to applicable procedures, quality system standards and regulatory requirements.

6.4 Conducting the Audit

6.4.1 The auditor(s) shall visit the area/department being audited with the intent of determining the effectiveness of the quality system that is in place.

6.4.2 The auditor(s) shall make observations of the work being performed for comparison to quality requirements/standards.

6.4.3 The auditor(s) shall interview employees with regard to the work they are performing (i.e., procedures being followed, revision levels, understanding of their responsibilities, etc.) and compare their findings to the requirements.

6.4.4 The auditor(s) shall document audit observations, including perceived deficiencies or weaknesses of the quality system, using Quality Audit Record and Summary Report (FM-13002).

6.4.5 The auditor(s) shall immediately report any critical deficiency (one that may have an immediate adverse effect on production/system quality) to the auditee, their Manager & Management Representative.

6.5 Audit Report

6.5.1 The lead auditor shall initiate a meeting consisting of the auditor(s) and the auditee following the conclusion of the audit.

Note: The primary purpose of this meeting is to review the observations with the auditee.  The auditee may comment on the accuracy of each observation.  If observations are disputed, they shall be submitted to the Management Representative and the direct manager of the auditee for resolution.

6.5.2 Following the meeting with the auditee, the auditor will prepare a Quality Audit Record and Summary Report that documents the observations supported by objective evidence.

6.5.3 The purpose of the Quality Audit Record and Summary Report is to communicate to responsible management those items that require effective improvement to meet quality system requirements.  It shall contain, but not be limited to, the following information:

- Audited department

- Auditor(s) names

- Auditee(s) names

- Audit Date

- Audit non-conformance

- Opportunities for Improvement

6.5.4 The auditor(s) may include non-binding suggestions for improvement in the Quality Audit Record and Summary Report that do not represent non-compliance but are of significance to the auditor(s) in terms of improving the quality system.

6.5.5 Once the report is completed, the MR and auditee department head shall review, sign and date the Quality Audit Record and Summary report

  - Audit Corrective Action

6.6.1 Prior to the issuance of any corrective action, the lead auditor shall discuss the concern with the management of the area audited to ensure that both parties understand the concern cited.

6.6.2 Corrective actions shall be written by the manager/supervisor of the area audited to address the findings expressed in the audit report.

6.6.3 The responsible individual shall ensure that actions taken without undue delay to eliminate detected non-conformance and their causes, completing Corrective and Preventive Action Form (FM-15001)

6.6.4 When corrective actions are completed, the responsible party shall attach documentation of the corrective action taken, if any, and return it to the auditor by the action due date.

6.6.5 The lead auditor shall verify that the actions have been completed and, when completion is confirmed, the lead auditor shall sign and date the Quality Audit Record and Summary Report.

6.6.6 Every effort is made to close audit non-conformance within 60-90 days. If the corrective action is a long-term project, then the manager/supervisor of the area shall submit this plan to the Management Representative and request for closure extension.

6.7 Verification and Effectiveness

6.7.1 Upon the receipt of the notification from the management of the area audited that the action items have been addressed, the Lead Auditor shall review the evidence of completion of all findings. If acceptable, the Lead Auditor closes the action item. If not considered sufficient or correct, the responsible individual shall be informed of any subsequent actions.

6.7.2 When an “Opportunity for Improvement” is observed, no re-audit is required but closure can be done only after improvement is taken.

7.0    RECORD

FM-13001   Internal Audit Notification

FM-13002   Quality Audit Record and Summary Report

8.0    APPENDIX

NA