| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

1.1 Define the process needed in the processing, reviewing, evaluating, investigating,  documenting and maintaining of the customers’ complaints and feedbacks related to the identity, quality, safety, effectiveness or performance of devices.

1.2 Define the process of handling of complaint-related product and determining the need to report to regulatory authorities, initiate correction or corrective action.

1.3 Define process of feedback system needed for gaining and reviewing production and post-production information.

- SCOPE
This procedure applies to all products manufactured or distributed by Kyron.

- REFERENCES

  - External Document

ISO 13485:2016

  - Related Document

3.2.1 Quality Manual

3.2.2 QS-15-QA   Corrective and Preventive Action Procedure

3.2.3 QS-25-QA   Analysis of Data Procedure

3.2.4 QS-27-QA   Adverse Event Reporting Procedure

4.0   DEFINITIONS

| Complaint | Any written, electronic, or oral communication that alleges deficiencies related to the identity, quality, durability, reliability, usability, safety or performance of a medical device that has been released from the organization’s control or related to a service that affects the performance of such medical devices |
| --- | --- |

5.0    RESPONSIBILITY

5.1 Quality Assurance (QA) / Regulatory Affairs (RA) Department

    - Administrate complaint handling process including assigning complaint number, document complaints on Customer Complaint Form and facilitate complaint investigation.

Complaint Number:

COMPL YYYY-XX

where

YYYY: Current year

XX: Running number

    - Responsible for tracking complaint investigation, correction and corrective action, and verifying the complaint closure in a timely fashion.

    - Responsible to determine reporting of adverse event and the need for any field safety corrective action, recall based on the complaint.

    - Responsible to acknowledge complaint and communicate with customer for the complaint investigation results.

    - Responsible for retention of all complaint records, communications and supporting documentation.

    - Responsible for compiling a summary of Post-Market Surveillance

5.2 Respective department shall assist in complaint communication, complaint investigation, product correction and corrective action, where applicable.

6.    PROCEDURES

6.1 Receiving of Customer Complaint

6.1.1 Customer complaint can be received by the Customer Service or Sales personnel via call, email, online feedback. Information of the complaint details will be recorded.

6.1.2 Complaint information will be channelled to the QA Department.

6.2 Opening a Complaint Record

6.2.1 QA Department will assign a complaint number and record the complaint details on the Customer Complaint Form (FM-14001). In the event where certain information is not available, documented evidence shall be available to show reasonable attempts have been made to obtain them with the defective sample (if any).

6.2.2 QA will log in the complaint into Customer complaint Log (FM-14002).

6.2.3 QA Department shall verify if the complaint is valid.

- If the complaint is not valid, document the reason, inform the customer and close the complaint.

- If the complaint is valid, acknowledge the complaint and initiate an investigation.

6.2.4 RA Department shall determine if the complaint is associated with any adverse event or incident and a reporting to regulatory authorities is required.

If adverse event reporting, issuing of advisory notice or recall is required

procedure Adverse Event Reporting Procedure (QS-27-QA) shall be followed.

6.3 Complaint Investigation

6.3.1 Request for complaint unit(s) to be returned for investigation or perform an on-site investigation at Customer’s premises.

6.3.2 Inform the relevant department or third party (e.g. contract manufacturer or supplier) responsible for the investigation (where applicable).

6.3.3 The relevant department or third party responsible shall perform investigation to confirm the complaint and determine the root cause of the problem.

6.3.4 Document investigation results on the Customer Complaint Form and attach all supporting documentation. If the complaint cannot be confirmed (e.g. not able to reproduce the product malfunction), document the fact with supporting evidence.

6.3.5 Inform the relevant departments and customers on the investigation results.

6.4 Correction or Corrective Action Request

6.4.1 The QA department or third party shall determine if any action is required.

- If no action is required, document the reason.

- If action is required, refer to Corrective and Preventive Action Procedure (QS-15-QA) to open a CAPA.

- After root cause and corrective actions are determined, review the risk management documents (DFMEA and PFMEA) on whether an update is necessary.

6.4.2 If the complaint information reasonably suggests that a safety or performance problem exists with other products:

- Refer to Control of Non-Conforming Products Procedure (QS-12-QA) to manage the products in the production floor or warehouse.

- Refer to Adverse Event Reporting Procedure (QS-27-QA) for the process of advisory notice, product recall or other actions required to address the distributed products.

6.5 Complaint Closure

6.5.1 The QA HOD shall verify that appropriate actions have been taken to address the complaint.

6.5.2 QA HOD shall verify that the records are complete including all investigation results, supporting evidence and the communication with customer support representative, sales personnel or customer.

6.5.3 QA Department shall close the customer complaint.

7.0    RECORD

FM-14001   Customer Complaint Form

FM-14002   Customer Complaint Log

8.0    APPENDIX

NA