| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

1. 0    PURPOSE

  - To establish a procedure for identifying and investigating into existing and potential non-conformance to prevent recurrence.

  - To establish a procedure for identifying, implementing, monitoring and verifying corrective/preventive action till satisfactory closure of each reported existing/potential non-conformance.

2.0    SCOPE

CAPA request can be initiated from different sources, including but not limited to the following:

  - Customer complaint

  - Control of non-conforming product

  - Quality Audit

  - Adverse Event/ Recall

  - Purchasing (assessment of suppliers)

  - Post market surveillance

3.0     REFERENCES

3.1	External Documents

3.1.1	ISO 13485:2016

3.2	Related Documents

3.2.1 Quality Manual

3.2.2 QS-03-QA   Control of Document and Record Procedure

3.2.3 QS-06-QA   Risk Management Procedure

3.2.4 QS-11-QA   Engineering Change Order Procedure

4.0     DEFINITIONS

| CAPA | Corrective Action / Preventive Action |
| --- | --- |
| Correction/ Containment Action | Actions taken for short-term rectification with the aim to contain the non-conformance. |
| Corrective Action (CA) | Action to eliminate the cause of non-conformities in order to prevent recurrence or Action undertaken to eliminate the cause of a detected non-conformity or other undesired situation. |
| Preventive Action (PA) | Action to eliminate the causes of potential non-conformities in order to prevent their occurrence. |
| QA | Quality Assurance |

5.0      RESPONSIBILITY

  - CAPA Owner is the Process Owner assigned, and is responsible for:

    - Reviewing the non-conformities (including customer complaints)

    - Determining the causes of non-conformities or potential nonconformities and their causes

    - Evaluating the need for action to ensure that nonconformities do not recur or to prevent occurrence of non-conformities

    - Determining and implementing action needed

    - Recording the results of any investigation and of action taken.

  - QA is responsible for reviewing the action taken, its effectiveness and closure.

  - QA is responsible to issue CAPA number and update the CAPA log (FM-15002).

CAPA YYYY-XX

where

YYYY: Current year

XX: Running number

6.0      PROCEDURES

6.1       Corrective Action

6.1.1 QA department and/ or relevant department shall determine the cause of the non-conformities by tracing the nonconformities to its source via the following approach but limited to:

- Fishbone (Man, Machine, Material, Measurement, Environment)

- FMEA

- The 5 Whys

6.1.2 QA and/ or relevant department shall evaluate the need for action to ensure that non-conformities do not recur.

6.1.3 Risk assessment shall be carried out to assess the impact of the non-conformance.

6.1.4 QA department and/ or relevant department shall plan and document actions needed and implementing such action, including, as appropriate, updating of documentation.

6.1.5 QA department and/ or relevant departments shall verify that the corrective actions does not adversely affect the ability to meet applicable regulatory requirements or the safety and performance of the medical device.

6.1.6 All changes are updated in accordance with procedure, Document Change Order Procedure (QS-03-QA) and Engineering Change Order Procedure (QS-11-QA).

6.1.7 Any new hazard(s) and any new risks are evaluated under the Risk Management Process Procedure (QS-06-QA) when the corrective action results in a design or process change. Design and process risk assessments are reviewed and updated, if necessary.

6.1.8 QA department and or relevant departments shall review the effectiveness of the corrective action taken and closure through:

- Verify CA taken are adequate and effective.

- Ensure that CA and affected documents have been updated and implemented.

- Conduct risk assessment to ensure that CA does not adversely affect new risk to the system/design/process.

6.2       Preventive Action

6.2.1 Individual department head shall regularly initial systematic analysis and review work processes to detect potential non-conformities.

6.2.2 Individual department shall evaluate the need for action prevent occurrence of non-conformities.

6.2.3 Individual department shall plan and document action needed and implementing, including, as appropriate, updating of documentation.

6.2.4 Individual department and QA department shall verify that the action does not adversely affect the ability to meet applicable regulatory requirements or the safety and performance of the medical device.

6.2.5 Individual department and QA department shall review the effectiveness of the preventive action taken and closure through:

- Verify PA taken are adequate and effective.

- Ensure that PA and affected documents have been updated and implemented.

- Conduct risk assessment to ensure that PA does not adversely affect new risk to the system/design/process.

6.3 	CA Extension Request

In the event where more time is needed for investigation or implementation of corrective actions, process owner shall initiate the extension period before the specified deadline is due. Valid reasons shall be given and approved by HODs’. Record shall be maintained.

7.0    RECORD

7.1 FM-15001   Corrective and Preventive Action Form

7.2 FM-15002   Corrective and Preventive Action Log

8.0    APPENDIX

NA