| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  | Management Representative |  |  |
| Reviewer / Approver |  | Director |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO 2022-001 | 01 | Initial Release |  |  |

# PURPOSE

## This procedure is established to specifies the processes, monitor and control of manufacturing activities.

# SCOPE

Apply to all products manufacture by Kyron or Contract Manufacturers (CM).

# REFERENCES

3.1.   External Documents

3.1.1      ISO 13485:2016

## 3.2     Related Documents

### 3.2.1   Quality Manual

3.2.2   QA-02-HR   Human Resource and Training Procedure

3.2.3   QS-04-OP   Facility Infrastructure and Environment Control Procedure

3.2.4   QS-24-EG   Equipment Control and Preventive Maintenance Procedure

# 4.0 DEFINITIONS

| ## Device History Record (DHR) | ## A compilation of records containing the production history of a finished device. |
| --- | --- |
| ## CM | ## Contract Manufacturer |

# RESPONSIBILITIES

## All production staffs are responsible to ensure that the process, control procedures are fully adhered and the operational requirements are implemented throughout the production facilities.

# process description

6.1 Control of Processes

The planning and production processes shall be controlled as per documented production control plan. The CM personnel or in-house personnel involved in these processes shall comply with the documented production control plan, relevant work instructions, and specifications. Production staffs shall monitor the relevant production control as specified in the production control plan and relevant work instructions of the CMs, such as:

- Documentation of procedures and methods.

- Qualification of infrastructure.

- Qualification of trained employees

- Monitoring and measurement of process parameters and product characteristics.

- Monitoring and measuring equipment.

- Operation of all production processes, including labelling and packaging.

- Product release, delivery, and post-delivery activities.

6.2 Work Instruction

The relevant work instructions shall define the detailed operational requirements for which the processes shall be carried out. The CM or in-house personnel shall establish, document, and maintain the relevant work instructions for the existing processes and any new processes.

6.3 Production Control Plan

The quality control checkpoints, including the detailed procedures for inspection and/or testing, shall be defined on the respective production control plan or flowchart. The CM or in-house personnel shall establish, document, and maintain the relevant work instruction for the existing and new inspection and/or test processes.

6.4 Criteria for Workmanship

Criteria for workmanship for the manufactured products shall be defined in the work instructions.

6.5 Training of Personnel

All personnel involved in production of devices shall be trained before work commencement in accordance to Training Procedure (QS-02-HR).

6.6 Equipment and Working Environment Control

Process Engineer or Designate shall ensure that the CM identify and qualify any suitable equipment, machinery and working environment for the execution of the production processes in accordance to Facility/Infrastructure and Environment Control Procedure (QS-04-OP) and Equipment Control and Preventive Maintenance Procedure (QS-24-EG).

Equipment use for conducting measurement during production shall be identified and recorded.

6.7 Product Identification and Status

All production materials, in-process and finished goods shall be properly identified on the production floor. Product status will be specified in the Device History Record. Quarantine area will be identified for non-conformance awaiting for further disposition by Supervisor.

6.8 Preservation

Production staff is to ensure raw materials or finished goods meet product storage requirements or criteria during and after processing. Production shall exercise care with property belongings to customers during temporary storage.

6.9 Device History Record

Every production batch/lot/device shall accompany with DHR that may contain at least the information:

a) Work order

b) Product/model

c) Production lot/batch/serial number

d) Manufacturing & expiry date

e) Part/materials batch/lot number

f) Manufacture and distribution quantity

g) Name of staffs conducting inspection and records

h) Equipment identification use for inspection

i) Process parameters, where appropriate

j) Label and labelling

k) Other information which deem appropriate

DHR shall be maintained in accordance to Control of Documents and Records Procedure (QS-03-QA).

6.10 Labeling and Packaging Control

Company shall ensure:

a) Label integrity - Device label information remains legible and affixed from initial generating, storage,

handling and distribution throughout device life cycle.

b) Label inspection - Labeling information shall be inspected against device approved artwork to ensure

are information are captured (like Lot number, expiration date, Mfg date, etc) prior release for storage. Personnel signature and date of release shall be documented in the DHR.

c) Labeling storage – Proper identification is to be established to prevent mix-ups.

d) Label operations – Production is to ensure label is adequately control during operation to prevent

mix-ups or missing. The label and labeling used for each production unit/lot/batch shall be

documented in the DHR.

6.11 Production Report

Report will be generated to monitor the production performance and will be reported during management meeting. Data analysis can be performance in accordance to Analysis of Data Procedure (QS-25-QA).

6.12 Contract Manufacturer (CM)

The CM shall be ISO 13485 and/or ISO 9001 certified and is responsible to validate the manufacturing processes.  Validation reports shall be maintained and made available to the Kyron. The CM shall ensure compliance to the Quality Agreement to produce the medical device.  Quality records will be documented to show conformance to the specified requirements. The CM shall maintain the Device History Record (DHR) for each lot/batch produced for a period of the medical device shelf-life plus 2 years.

All CM shall be assessed and selected in accordance Supplier Management Procedure (QS-10-QA).

# RECORD

Nil

- APPENDIX

- Appendix 1 - Manufacturing Flow Chart

- Appendix 2 – Overall Process Workflow

Appendix 1 - Manufacturing Flow Chart For

Appendix 2: Overall Process Workflow