| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

  - To define an incoming inspection system to ensure that incoming raw materials, parts or finished products are inspected and/or tested for conformance to Kyron specified requirements before proceeding to the manufacturing process.

  - To define a manufacturing in-process inspection control procedure to ensure defective product do not proceed to subsequent operations.

  - To define an out-going inspection control procedure and ensure outgoing defective products are not delivered to the customer.

- SCOPE

  - Applies to incoming goods purchased for manufacturing products produced by Kyron.

  - Work in-progress semi-finished goods and final products manufactured by Kyron.

- REFERENCES

  - External Documents

## ISO13485:2016

3.2   Related Documents

    - Quality Manual

    - QS-12-QA Control of Non-Conforming Product Procedure

    - QS-17-OP Identification & Traceability Procedure

- DEFINITIONS

NA

5.0  RESPONSIBILITY

QA Department shall be responsible;

- For performing inspection on specific incoming goods and ensure that the quality of all incoming goods is in accordance with the specified requirements.

- Approve or reject material/product after inspection and liaise with respective suppliers for action if required.

- Work together with Production and Supply Chain staff to ensure that defectives or faulty products do not proceed to subsequent operations.

- Authorized finished device released.

6.0  PROCEDURES

6.1 Incoming Inspection

6.1.1 Incoming goods shall receive by the respective department who shall verify the

contents of the vendor delivery order/invoice against the Purchase Order.

6.1.2 Material/products required to be inspected may assign with a unique in-house batch number in accordance to Identification and Traceability Procedure (QS-16-OP)

6.1.3 Quality Assurance (QA) Inspector shall apply Sampling Plan for conducting inspection and shall reference to respective work instruction/material specification.

6.1.4 Results of inspection shall be recorded on QA Incoming Inspection Report (FM-18001).

6.1.5 For every batch of chemical / finished device delivered, supplier shall accompany a copy of Certificate of Analysis COA or Certificate of Conformance (COC) together with the incoming goods.

6.1.6 When results of inspection do not meet required specification, Incoming Failure Report (FM-18004) will be raised and update the Incoming Failure Report Log (FM-18005). Goods will be moved to Quarantine area and affixed with ‘OUT’ red sticker.

IFR YYYY-XX

where

YYYY: Current year

XX: Running number

6.1.7 Material/Product that passed the incoming inspection shall move to identified ‘Passed’ area and affixed with ‘OK’ green sticker.

6.2 In-Process Inspection

6.2.1 Sampling inspection is carried out by QA inspector base on respective work instruction /product specification.

6.2.2 QA Inspector shall apply Sampling Plan for conducting inspection.

6.2.3 If product is found to deviate from inspection criteria, the inspected lot shall be on-hold at Quarantine area and await final disposition. Non-Conformance Report (FM-12001) may be raised.

6.2.4 Results of inspection shall be recorded on QA In-Process Inspection Report (FM-18002).

6.3 Outgoing Inspection

6.3.1 Sampling inspection is carried out by QA inspector base on packaging requirements, including contents of the labels.

6.3.2 QA Inspector shall apply Sampling Plan for conducting inspection.

6.3.3 If product is found to deviate from inspection criteria, the inspected lot shall be on-hold at Quarantine area and await final disposition. Non-Conformance Report (FM-12001) may be raised.

6.3.4 Results of inspection shall be recorded on QA Outgoing Inspection Report (FM-18003).

6.4 Finished Product Release

QA HOD or manager shall authorize product release once product has passed all testing via

Lot/Batch Release Report (FM-18006).

6.5 Pre-Shipment Inspection

Finished product is subjected to QA inspection to ensure correct products, quantity, labelling and no external damaged to the products picked by logistic staff prior shipment against customer order. Pre-Shipment Inspection Report (FM-18007) shall be maintained.

6.6 Product Status Identification

6.6.1 The identification of inspection and test status shall be maintained to ensure that only products that have passed through the required inspection and test is used and to avoid mixed-up with product without inspection or tests.

6.6.2 The recording status shall be put 'O / OK' for acceptable and for unacceptable shall be

put a 'X / OUT'.

6.6.3 Acceptable / non-acceptable product shall be physically segregated by location / area or by labels indication.

6.7 Sampling Method / Plan

Sampling method is adopted from ISO 2859-1 using single sampling plan for normal inspection (Table 2-A) comprises of various inspection level and sampling plan on different process with consideration on the risk involved, organization resources, technology, etc

Refer to Appendix 1 for Sampling Plan, Size and Inspection Table.

6.8 Inspection Records

All inspection records form part of the Device History Record (DHR) and shall be stored and maintained in accordance with the Control of Documents and Records procedure (QS-03-QA)

6.9 Reporting / Data Analysis

All data collected shall be used for monitoring, analysis, evaluate, improvement and report to management on monthly basis. Data analysis can be performance in accordance to Analysis of Data Procedure (QS-25-QA).

- RECORD

7.1 FM-18001   QA Incoming Inspection Report

7.2 FM-18002   QA In-Process Inspection Report

7.3 FM-18003   QA Outgoing Inspection Report

7.4 FM-18004   Incoming Failure Report

7.5 FM-18005   Incoming Failure Report Log

7.6 FM-18006   Lot/Batch Release Report

7.7 FM-18007   Pre-Shipment Inspection Report

- APPENDIX

Appendix 1 – Incoming Inspection Flow

Appendix 2 – In-Process Inspection Flow

Appendix 3 – Outgoing Inspection Flow

Appendix 4 - Sampling Plan, Size and Inspection Table

Appendix 1 : Incoming Inspection Flow

IFR

Certificate of Conformance and packing list

(If applicable)

Yes

Purchasing

QA sign, stamp to release material

Receipt of incoming goods

Record Batch No. & receive info to be recorded.

Incoming goods inspection

PO

Inspection

Specification

Meet

Spec.

Place in the Inventory Area

Yes

Incoming inspection?

No

Appendix 2 : In-Process Inspection Flow

Materials/

Parts

Processing

Production perform Inspection and Testing

Meet Spec

Final Product

Nonconformities

Non-Conformance

Quality Control QC

Meet Spec

NO

NO

YES

YES

Work Order/Inspection Form, as part of the DHR

Appendix 3 : Outgoing Inspection Flow

Work Order/Inspection Form as part of the DHR

Final release

Put on stock

File DHR

NCR

Final Product

No

Yes

Appendix 4: Sampling Plan, Size and Inspection Table

| Incoming Inspection - AQL 4.0 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Lot / Batch Size | Inspection Level | Sample Size Code Letters | Inspection Qty. | Inspection Method | Acceptance Criteria | Accept | Reject |
| 1 | 2 -15 | S-3 | A | 2 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 2 | 16 - 50 | S-3 | B | 3 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 3 | 51 - 150 | S-3 | C | 5 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 4 | 151 - 500 | S-3 | D | 8 | WI Docs XX | Spec Docs XX | 1 | 2 |
| 5 | 501- 3,200 | S-3 | E | 13 | WI Docs XX | Spec Docs XX | 1 | 2 |
| 6 | 3,201 - 35,000 | S-3 | F | 20 | WI Docs XX | Spec Docs XX | 2 | 3 |

| In-Process Inspection - AQL 4.0 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Lot / Batch Size | Inspection Level | Sample Size Code Letters | Inspection Qty. | Inspection Method | Acceptance Criteria | Accept | Reject |
| 1 | 2 -15 | S-3 | A | 2 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 2 | 16 - 50 | S-3 | B | 3 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 3 | 51 - 150 | S-3 | C | 5 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 4 | 151 - 500 | S-3 | D | 8 | WI Docs XX | Spec Docs XX | 1 | 2 |
| 5 | 501- 3,200 | S-3 | E | 13 | WI Docs XX | Spec Docs XX | 1 | 2 |
| 6 | 3,201 - 35,000 | S-3 | F | 20 | WI Docs XX | Spec Docs XX | 2 | 3 |

| Outgoing Inspection / Pre-shipment Inspection - AQL 1.5 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Lot / Batch Size | Inspection Level | Sample Size Code Letters | Inspection Qty. | Inspection Method | Acceptance Criteria | Accept | Reject |
| 1 | 2 - 50 boxes | S-4 | C | 5 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 2 | 51 - 500 boxes | S-3 | D | 8 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 3 | 501 - 1,200 boxes | S-3 | E | 13 | WI Docs XX | Spec Docs XX | 0 | 1 |
| 4 | 1,201 – 35,000 boxes | S-3 | F | 20 | WI Docs XX | Spec Docs XX | 1 | 2 |