| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

  - To establish a system for controlling and maintenance all equipment in the Kyron.

  - To ensure all related equipment use for manufacturing are timely calibrated and within operating requirements traceable to international or national measurement standard.

  - To establish a Preventive Maintenance program for ensuring the lifespan and reliability of the equipment;

- Prevent and minimize equipment breakdown.

- Ensure the equipment is serviced at the predetermined time.

- Ensure the equipment is performing at optimum efficacy.

- SCOPE

Apply to all equipment owned by the Kyron Healthcare.

- REFERENCES

### 3.1 External Document

3.1.1   ISO 13485:2016

### 3.2 Related Document

    - 3.2.1 Quality Manual

    - 3.2.2 QS-12-QA   Control of Non-Conforming Product Procedure

    - 3.2.3 QS-27-QA   Adverse Event Reporting and Field Safety Corrective Action Procedure

4.0 DEFINITIONS

| Preventive Maintenance (PM) | Maintenance that is proactively performed on an equipment with the goal of lessening the likelihood of failure, reducing unexpected downtime, and prolonging its useful life. |
| --- | --- |

5.0 RESPONSIBILITY

5.1 Equipment owner shall oversee all equipment registration, identification, maintenance schedule, calibration schedule and status update.

5.2 Qualified Engineer/Technician shall perform equipment maintenance and calibration in accordance to respective work instruction/manual and maintain record.

5.3 The department head shall review whole calibration and maintenance programs.

6.0 PROCEDURES

6.1 New Equipment Purchase Control

6.1.1 Equipment owner shall initiate and complete all relevant information via Equipment Registration and Preventive Maintenance Identification (FM-22001). Once the new equipment has been successfully registered, a unique equipment identification will be generated. This unique identification number is to be clearly tagged to the respective equipment. Equipment Master List (FM-22002) shall be updated accordingly.

6.1.2 Equipment owner shall determine whether preventive maintenance is required and update in the Equipment Preventive Maintenance Master List (FM-22003) if applicable.

6.2 Equipment Preventive Maintenance Schedule

6.2.1 The equipment owner is responsible to schedule and planned frequency of

preventative maintenance. The pre-determined maintenance interval schedule for considering may come from, but not limited to;

- Industry standard

- Supplier recommendation

- Maintenance history of similar equipment

- Purpose and extended of use.

6.2.2 Technician will be trained to perform equipment maintenance base on work

instruction or equipment manual. Equipment Maintenance Checklist (FM-22004) shall

be maintained.

6.2.3 Equipment owner shall liaise with external service provider should the maintenance

work is not able to perform in-house. Maintenance report shall be maintained.

6.3 Equipment Calibration Schedule and No Calibration Required

6.3.1 The equipment owner is responsible to schedule and planned frequency of calibration during equipment registration.

6.3.2 Equipment owner shall liaise with external approved service provider calibration work. Calibration report shall be maintained.

6.3.3 Upon calibration completed, a new sticker will be affixed for next calibration date. Old sticker shall be totally removed.

6.3.4 For equipment that do not require any calibration, a “CALIBRATION NOT REQUIRED” label shall be tagged to the equipment.

6.4 Handling of Expired Calibration Due Date and Out of Tolerance Equipment

6.4.1 Equipment that was out of calibration shall be tagged with “DO NOT USE – OUT OF CALIBRATION” and shall remove from production line and QC inspection area. Proper identified area should be allocated to prevent unauthorized usage.

6.4.2 Equipment found to be out of tolerance calibration shall be segregated and properly identified and pending of next course of action.

6.4.3 In the event in-use equipment is out of calibration tolerance, Kyron shall assess and record the validity of the previous measuring results. Kyron shall take appropriate action in regard to the equipment and any product is affected, refer to Control of Non-Conformance Product Procedure (QS-12-QA) if required.

Risk assessment by the management may take place to assess the distributed products. The outcome may or may not lead to field corrective action or product recall, refer to Adverse Event Reporting and Field Safety Corrective Procedure (QS-27-QA) if required.

7.0 	RECORD

7.1 FM-22001 Equipment Registration and Preventive Maintenance Identification

7.2 FM-22002 Equipment Master List

7.3 FM-22003 Equipment Preventive Maintenance Master List

7.4 FM-22004 Equipment Maintenance Checklist

7.5 External Maintenance/Service Report

7.6 External Calibration Report

8.0 	APPENDIX

NA