| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

The purpose of this procedure is to describe the procedures to determine, collect and analyse appropriate data to demonstrate the suitability, adequacy, improvement and effectiveness of the Quality Management System and any other activities using statistical techniques to enhance the visibility of the quality information and for verifying acceptability of process capability and product characteristic.

- SCOPE

The use of statistical techniques is applicable to all departments in Kyron Healthcare.

- REFERENCES

  - External Documents

3.1.1     ISO 13485:2016

  - Related Documents

    - Quality Manual

    - QS-01-QA  Management Review Procedure

    - QS-10-QA  Supplier Management Procedure

    - QS-12-QA  Control of Non-Conforming Product Procedure

    - QS-13-QA  Internal Audit Procedure

    - QS-14-QA  Feedback and Complaint Procedure

    - QS-15-QA  Corrective and Preventive Action Procedure

    - QS-19-QA  Quality Control Procedure

    - QS-27-QA  Adverse Event Reporting and Field Safety Corrective Procedure

    - QS-30-QA  Post Market Surveillance Procedure

    - QS-33-LG  Storage & Stock Handling Procedure

- DEFINITIONS

NA

- RESPONSIBILITY

5.1 All individual department heads are responsible to identify the needs of statistical techniques application on their work operation. All respective concerned department shall follow this requirement.

5.2 Individual department is responsible to ensure that analysis of data is performed as required and appropriate action is taken when the processes do not achieve planned results.

- PROCEDURES

6.1 Analysis of Vendor Evaluation:

The suppliers shall be evaluated for the quality of material/equipment they are supplying on Semi-annually basis. The analysis shall be done by QA In-charge in order to ensure that the material/equipment and the service provided by the supplier consistently meet the requirements. Also the analysis is required for assessment of vendor’s ability to comply with regulatory requirements.

6.2 Analysis of calibration record

All the measuring and monitoring equipments shall be calibrated on regular basis and the calibration report of the same shall be maintained for records. The Schedule of calibration program and calibration reports along with their traceability reports (national and international traceability reports) shall be analyzed on monthly basis. Records are maintained with Maintenance Department.

6.3 Analysis of Training Records:

All the employees shall be given training on all the SOPs. The training schedule and the Training records shall be analyzed on regular basis. Records are maintained with HR Department.

6.4 Analysis of Deviation Records:

Any deviation found in the process or system shall be recorded and an Incident Report shall be filled and has to be maintained. The records of deviations occurred shall be analyzed by QA department on quarterly basis.

Statistical Techniques

Statistical techniques shall be used as quality control tools to verify the acceptability of the process capability and product characteristics.

6.5 Statistical Techniques Needs Identification Control Chart

- QA Department Head shall identify suitable statistical techniques to be used during incoming, line process, outgoing inspection and non-conformity.

- Customer complaints shall be plotted on monthly basis to ensure it is constantly monitored.

- Production yield chart and output shall be monitored regularly.

- Logistic shall monitor delivery and shipping activities.

- Research & Development and Manufacturing shall experiment on process reliability, process capability on new product development

6.6 Statistical Techniques Method

The statistical techniques that may be used include, but not limited to the following;

- Descriptive Statistic (Eg, Histograms, Line/Bar Chart, Check Sheets, Pareto Analysis)

- Hypothesis Testing

- Statistical Process Control (SPC) Chart

- Design of Experiment (DOE)

- Process Capability

Analysis Of “One-Shot” Device

Application: It may apply to the testing which related to process validation and product development.

A “one-shot” device is defined as a product, system or equipment that can be used only once.

For “one-shot” devices, acceptance sampling is a statistical method used to predict the probability of success, or reliability, by estimating an attribute of the population through a sample. Test results are measured by determining if the product was good or bad, passed or failed & etc.

Binomial Distribution is based on the work of Jacob Bernoulli (1654-1705). The distribution is based on “Bernoulli trials”, where each trial will result in only of two possible outcomes, i.e., passed or failed.

To use binomial distribution to predict the probability of success for “one-shot” devices, the trials in the sample must meet the following conditions:

- Each trial must be independent. The outcomes of one trial cannot influence an outcome of another trial.

- For each trial, there is only one of two possible outcomes.

- The number of trials in a sample must be fixed in advance and be a positive integer number.

- The probability of success must be the same for all trials.

Determination of sample size

N= ln (1-C)/ (ln R)

= ln (1-0.95)/ln (0.90)

= 2.9937/0.10536

=28.4

C= Confidence level

R= Reliability level

ANOVA

Normality test – Histogram, NPP, Normality test (Anderson darlin, KS, rijolim)

Non-normal data

Normal tolerance limits

Cpk vs Ppk

Binomial equation used to predict the probability of a specific number of r defects or failures in n sample is:

Pr ≤ k= r=0kn !r !n-r! pr1-pn-r      ------(1)

Where:

p = lot tolerance percentage defect

n = sample size

r = number defective

P (r) = probability of getting exactly r defective or failed units in a sample size of n units.

The Confidence Level (CL) that the population is only p defective based on r ≤ k defects from a sample of n is

Confidence Level = CL = 1 – P (r ≤ k)

Case Study to derive the sample size (n).

In order to obtain a 95% Confidence Level with 90% reliability, for 0 failure allowed, the required sample size is:

0.95 = 1 – P (r ≤ k)

P (r ≤ k) = 0.05      ---------- (2)

Then, insert (2) into (1). P = 0.1, r = 0;

0.05= r=0kn !0 !n-0! 0.101-0.1n-0

0.05 = 0.9 n

n = 29

Interpretation of Data

Confidence level of 95% and 99% for 90% reliability (10% defective rate) is used.

For Critical defect of process, e.g. dimensions power, etc., the samples size shall be set as C=0 regardless of any sample size derived from confidence level of 95% or 99%.

| No. of failure | Sample Size |  |
| --- | --- | --- |
|  | C.L = 95% | C.L = 99% |
| 0 | 29 | 45 |
| 1 | 47 | 65 |
| 2 | 63 | 83 |
| 3 | 77 | 98 |
| 4 | 92 | 113 |
| 5 | 104 | 128 |
| 6 | 116 | 142 |
| 7 | 129 | 158 |
| 8 | 143 | 170 |
| 9 | 156 | 184 |
| 10 | 168 | 197 |
| 11 | 179 | 210 |
| 12 | 191 | 223 |
| 13 | 203 | 236 |
| 14 | 217 | 250 |
| 15 | 228 | 264 |

- RECORD

NA

- APPENDIX

NA