| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

# This procedure describes the requirements for maintaining the work environment and product cleanliness needed to achieve product and service conformity within Kyron Healthcare.

- SCOPE

Apply to the work environment required for the proper and efficient operations of  Kyron, which can include but not limited to the business offices, manufacturing and storage spaces.

- REFERENCES

  - External Documents

## 3.1.1   ISO 13485:2016

3.2    Related Documents

3.2.1   Quality Manual

- DEFINITIONS

| Work Environment | This includes all work environments that could adversely affect the quality of the products and services, not limited to office, manufacturing and storage spaces. |
| --- | --- |

- RESPONSIBILITY

5.1The Engineering department is responsible for proper control and maintenance of Kyron infrastructure and work environment to ensure compliance to requirements.

5.2 Quality Assurance is responsible for the proper documentation and records maintenance.

5.3 Respective department is responsible for daily cleaning in their own premises.

- PROCEDURES

## 6.1. Controls of Work Environment

Relevant standard operating procedure or work instructions are made accessible and in a simple to understand manner for the staff to ensure efficient and consistent operations in their respective work areas. Staff has to read and understand the relevant user/equipment manual and ensure compliance to these instructions. The supervisors’ and managers’ role is to ensure personal and product safety awareness are demonstrated to very staff via training.

6.1.1 Housekeeping

Proper housekeeping is expected to be maintained within all premises in the Kyron in order to promote a conducive and safe working environment for all employees.

6.1.2 Pest Control

Pest control is required for production and storage facilities within the Kyron. The Operations Officer or designate shall ensure that pest control is carried out on monthly basis. External service provider may be engaged to carry out. Pest control floor plan where all the baits are placed shall be established. Pest control record shall be maintained.

6.1.3 Temperature and Humidity Control

For product that required special storage due to nature of product requirements, respective department heads have to ensure proper monitoring and maintenance is carried out adequately. External service providers may be engaged to conduct maintenance. Monitoring and maintenance records shall be maintained.

6.1.4 Cleanroom Control

Product that required to manufacture in the cleanroom environment shall comply to respective cleanroom classification (Eg, ISO Class 6, ISO Class 7, etc) requirements.

Staffs entering shall be trained and comply to established gowning requirements and cleanroom rules by the Kyron.

Bi-annual or annual cleanroom performance verification shall be carried out by trained personnel or certified service providers. Performance report shall be maintained.

6.1.5 Electrostatic Discharge (ESD) Protected Area

All working table/desk and staffs are to be properly ‘grounded’ to eliminate/minimise charge build-up on ESD sensitive electronics. Supervisor/Technician is to perform regular check to ensure protective device is good working condition.

## 6.2. Contamination Control

Kyron Healthcare will plan and document the control of contaminated or potentially contaminated products in order to prevent contamination of the work environment, staff and/or the product in the respective work instructions.

The following could help with contamination controls are but not limited:

- Staff to perform own workstation cleaning before and after work commencement with 70% IPA.

- Staff to perform daily housekeeping on the production and storage areas.

- Staff not feeling well is not allow work in the production area.

- Process validation of cleaning method, assembly, packing, sterilisation, where applicable.

- Proper segregation of contamination product and normal product.

- Perform Bi-annual or annual cleanroom microbial test for air, workstation and operators.

- RECORD

  - Pest control report (Third party)

  - SS-04001 Demonstration of Gowning Procedure

- APPENDIX

NA