| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

| Details | YES/NO/ NA LOCATION OF RECORDS MAINTAINED |
| --- | --- |
| - A product development quality plan has been established. |  |
| - Design verification and validation results are up-to-date. |  |
| - A detailed risk analysis is complete and available. |  |
| A manufacturing plan, including: - Critical process control - Process flow. - Process validation. - Process control. - Environmental requirements of the production equipment. - Materials handling and control. - Materials receiving inspection. |  |
| A device master record, including complete and accurate: - Bill of materials. - Component, subassembly, and finished product specifications. - Assembly drawings and schematics. - Manufacturing and assembly procedures. - Component incoming inspection procedures. - Manufacturing in-process inspection and test procedures. - Finished product test and inspection procedures. - Labelling and packaging specifications and procedures, and acceptance criteria. - Product servicing procedures |  |
| - Device history record forms. |  |
| - Manufacturing final-acceptance test report. |  |
| - Copies of labelling including manuals. |  |
| - Product specifications - manufacturing procedures |  |
| - Testing of the finished product in actual or simulated conditions. - Results of clinical tests |  |