| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

# Purpose

# Scope

# Responsibilities & Authorities

# Review Of Risk Management Activities

# Criteria For Acceptability

| FREQUENCY |  | SEVERITY |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | NEGLIGIBLE | MINOR | SERIOUS | CRITICAL | CASTROPHIC |
|  |  | 1 | 2 | 3 | 4 | 5 |
| Frequent | 5 | 5 | 10 | 15 | 20 | 25 |
| Probable | 4 | 4 | 8 | 12 | 16 | 20 |
| Occasional | 3 | 3 | 6 | 9 | 12 | 15 |
| Remote | 2 | 2 | 4 | 6 | 8 | 10 |
| Improbable | 1 | 1 | 2 | 3 | 4 | 5 |

Note: Red: High Risk; Yellow: Medium Risk; Green: Low Risk

The following steps shall be performed:

- High Risk - Risks must be mitigated before commercial distribution of products. Record “Y” in the action needed column of the Product Risk Assessment.

- Medium Risk - Determine if risk mitigation is required by weighing benefit-risk. If not, record “N” in the action needed column of the Product Risk Assessment and document a rational for no action in the risk control measures column of Product Risk Assessment. Residual risk has to be reduced to” as far as possible”

- Low Risk - Risk mitigation is not required. Record “N” in the action needed column of the Product Risk Assessment and record N/A in the risk control measures column of the Product Risk Assessment. Residual risk has to be reduced to” as far as possible”

5.2 Process Risk Acceptability

If RPN score is greater than or equal to 80, then risk control measures shall be implemented.

If RPN value is below 80, it has to be reviewed if residual risk has been reduced “as far as possible”, then no action needed.

# Method To Evaluate Overall Residual Risk and Criteria for Acceptability

# Verification Activities

# Activities Related to Collection and Review of Relevant Production and Post-Production Information

# Risk Management Report

# Reference

- ISO 14971:2019 Application of Risk Management to Medical Devices

- ISO 13485:2016 Medical Devices – Quality Management Systems – Requirements for Regulatory Purposes