| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  |  |

| Company Name |  |
| --- | --- |
| Product |  |
| Product Description & Intended Use |  |
| Team Member |  |
| Reference | ISO/TR 24971:2020 Annex A & H |
| Result | All risks associated with the identified hazards have been evaluated. After appropriate measures to reduce these risks have been taken, the overall level of risk of the product is acceptable with regards to the intended application and use of the application. |

Annex A

| A.2.1 What is the intended use and how is the medical device to be used? |  |
| --- | --- |
| A.2.2 Is the medical device intended to be implanted? |  |
| A.2.3 Is the medical device intended to be in contact with the patient or other persons? |  |
| A.2.4 What materials or components are utilized in the medical device or are used with, or are in contact with, the medical device? |  |
| A.2.5 Is energy delivered to or extracted from the patient? |  |
| A.2.6 Are substances delivered to or extracted from the patient? |  |
| A.2.7 Are biological materials processed by the medical device for subsequent re-use, transfusion or transplantation? |  |
| A.2.8 Is the medical device supplied sterile or intended to be sterilized by the user, or are other microbiological controls applicable? |  |
| A.2.9 Is the medical device intended to be routinely cleaned and disinfected by the user? |  |
| A.2.10 Is the medical device intended to modify the patient environment? |  |
| A.2.11 Are measurements taken? |  |
| A.2.12 Is the medical device interpretative? |  |
| A.2.13 Is the medical device intended for use in conjunction with other medical devices, medicines or other medical technologies? |  |
| A.2.14 Are there unwanted outputs of energy or substances? |  |
| A.2.15 Is the medical device susceptible to environmental influences? |  |
| A.2.16 Does the medical device influence the environment? |  |
| A.2.17 Does the medical device require consumables or accessories? |  |
| A2.18 Is maintenance or calibration necessary? |  |
| A.2.19 Does the medical device contain software? |  |
| A.2.20 Does the medical device allow access to information? |  |
| A.2.21 Does the medical device store data critical to patient care? |  |
| A.2.22 Does the medical device have a restricted shelf life? |  |
| A.2.23 Are there any delayed or long-term use effects? |  |
| C.2.24 To what mechanical forces will the medical device be subjected? |  |
| A.2.25 What determines the lifetime of the medical device? |  |
| A.2.26 Is the medical device intended for single use? |  |
| A.2.27 Is safe decommissioning or disposal of the medical device necessary? |  |
| A.2.28 Does installation or use of the medical device require special training or special skills? |  |
| A.2.29 How will information for safe use be provided? |  |
| A.2.30 Are new manufacturing processes established or introduced? |  |
| A2.31 Is successful application of the medical device critically dependent on human factors such as the user interface? |  |
| A.2.31.1 Can the user interface design features contribute to use error? |  |
| A.2.31.2 Is the medical device used in an environment where distractions can cause use error? |  |
| A.2.31.3 Does the medical device have connecting parts or accessories? |  |
| A.2.31.4 Does the medical device have a control interface? |  |
| A.2.31.5 Does the medical device display information? |  |
| A.2.31.6 Is the medical device controlled by a menu? |  |
| A.2.31.7 Is the successful use of the medical device dependent on a user’s knowledge, skills and abilities? |  |
| A.2.31.8 Will the medical device be used by persons with specific needs? |  |
| A.2.31.9 Can the user interface be used to initiate unauthorised actions? |  |
| A.2.32 Does the medical device use an alarm system? |  |
| A.2.33 In what ways might the medical device be misused (deliberately or not)? |  |
| A.2.34 Is the medical device intended to be mobile or portable? |  |
| A.2.35 Does the use of the medical device depend on essential performance? |  |
| A.2.36 Does the medical device have a degree of autonomy? |  |
| A.2.37 Does the medical device produce an output that is used as an input in determining clinical action? |  |

Annex H

| H.2 Risk analysis |  |
| --- | --- |
| H.2.1.2 Device description |  |
| Each risk analysis begins with identifying and documenting a clear description of the IVD medical device and its specific role in producing the examination result. Questions to consider when describing the IVD medical device include: |  |
| a. Is the device used alone to produce examination results or in combination with other devices? |  |
| i) If the device is a standalone analytical system, is it automated (software, robotics)? |  |
| ii) If used in combination with other IVD medical devices to form a system, what is its role in producing the examination result (e.g. sample collection system, sample receptacle, measuring instrument, software, databases, reagents, calibrators, control materials, or accessory)? |  |
| ii) If part of a system, how does the IVD medical device interact with other components of the system? |  |
| b. Are other reagents or accessories necessary but not provided? |  |
| c. Does the device employ new or novel technology (e.g. for measurement, communication)? |  |
| d. Does the device employ digital information technology for documenting and/or transmitting examination results to clinicians or communicating with mobile applications? |  |
| e. Do software applications provide diagnostic or treatment recommendations? |  |
| f. Does the IVD medical device communicate with a medical device that immediately administers treatment based on the IVD result (e.g. an IVD medical device that measures blood glucose levels and communicates with an implanted insulin administration system)? |  |
| H.2.1.3 Analytical use The intended use of the IVD medical device includes the analyte(s) intended to be detected or measured; acceptable sample types; calibration, quality control and preventive maintenance activities; and the use environment. It is important that reasonably foreseeable misuse is also considered |  |
| a. What analyte is the device intended to measure or examine? |  |
| b. Will the examination results be qualitative, semi-quantitative or quantitative? |  |
| c. Will the device be used in the pre-examination, examination or post-examination phase? |  |
| d. What specimens can be analysed (e.g. serum, plasma, blood, urine, other body fluids, tissues)? |  |
| e. Do other substances potentially found in these samples interfere with the analytical process? |  |
| f. In nucleic acid sequencing procedures, is the amplicon sensitive to contamination from environmental sources of DNA/RNA? |  |
| g. Are there any additional limitations for use in specific use environments (e.g. medical laboratories, emergency room, operating room, ambulance, intensive care unit, neonatal care unit, nursing home, physician’s office, screening clinics, or the patient’s home)? h. Does the IVD medical device interface, connect or communicate with other devices or networks? |  |
| i. Who will be using the IVD medical device to perform examinations, and what training and qualifications will be appropriate? |  |
| H.2.1.4 Clinical use The intended clinical use of the IVD medical device (called indications for use in some jurisdictions) includes the medical conditions and patient populations for which the examination results are used. Manufacturers can rely on internal or external clinical experts to understand the following: |  |
| a. How the IVD examination results will be used in clinical decision making |  |
| b. The medical decision points and degree of accuracy required |  |
| c. Whether clinicians can recognize incorrect results (e.g. based on magnitude of error or consistency with other clinical information); |  |
| d. What actions the clinician would take in the event of an abnormal or unexpected result |  |
| e. The clinical significance of delayed results, if any |  |
| f. Potential adverse consequences of unnecessary medical intervention |  |
| g. Additional questions to consider when identifying the clinical use include: Will the examination results be used for |  |
| i) Diagnosis in order to cure, treat or prevent a disease or other condition? |  |
| ii) Measuring body fluid constituents to determine a patient’s state of health? |  |
| iii) Monitoring therapeutic drug levels to ensure an effective dose? |  |
| iv) Determining the safety of donated blood or organs? |  |
| v) Screening a population for the presence or absence of a specific marker? |  |
| vi) Predicting the effectiveness of a therapeutic alternatives (“companion diagnostic”)? |  |
| vii) Predicting the risk of developing a medical condition? |  |
| viii) Applications other than the intended use? |  |
| h. What injury, illness or condition will the results be used to detect, diagnose, predict or monitor? |  |
| i. Who will use the IVD examination results: medical specialists, general clinicians or patients? |  |
| j. Is the role of the examination results in medical decisions to be used: |  |
| i) As the basis for immediate medical decisions? |  |
| ii) With other relevant information to guide a medical decision? |  |
| k. Which patient populations will primarily experience the benefit from the IVD examinations? |  |
| l. Should any patient populations be explicitly contraindicated? |  |
| H.2.2.2 Performance Characteristics related to patient safety |  |
| a. Quantitative examinations measure a quantity in a representative specimen taken from a patient. The results are usually expressed as a concentration or percentage. The required analytical performance depends on the medical application, but false high, false normal or false low results can potentially affect a diagnosis, cause inappropriate or delayed therapy, and lead to patient harm. The type and severity of harm can depend on the magnitude of error at medical decision points. The relevant performance characteristics of quantitative IVD medical devices can include: — trueness of the measured values (bias, traceability to a reference standard); — measurement precision (repeatability, intermediate precision, reproducibility); — analytical specificity (influence of interfering or cross-reacting substances); — analytical sensitivity (ability to discriminate between quantity limits or ranges); — detection limit (lowest quantity that can be reliably detected); — quantitation limit (lowest quantity that can be accurately measured); — measuring interval (range of values over which the analytical performance was validated). |  |
| b. Semi-quantitative examinations provide a clinically useful approximation of the quantity being measured. Values are typically assigned based on an ordinal scale or are reported as a quantity limit, and can be expressed numerically (e.g. within a specified range of values, or greater or less than a specific quantity, titer or serial dilution) or relatively (e.g. as +3, +2, +1 or trace amount). Common examples of semi-quantitative examinations are urine “dipsticks,” tablets that detect the presence of ketones, and serological agglutination procedures. Microscopic examinations can also be considered semi-quantitative if the results are reported as the number of cells observed in a low-power or high-power field. For example, a urine microscopic examination might report a value of 0 to 5 red blood cells in a high-power field. The performance characteristics of semi-quantitative IVD medical devices can include: — analytical sensitivity (ability to discriminate between quantity limits or ranges); — analytical specificity (influence of interfering or cross-reacting substances) — detection limit (lowest quantity that can be reliably detected); — precision of the measured signal values (repeatability, reproducibility). |  |
| c. Qualitative examinations determine the presence or absence of an analyte, and results are reported as positive, negative or indeterminate. Cut-off values and relevant databases can define positive or negative results. A positive result when the analyte is absent or a negative result when the analyte is present can affect the diagnosis or treatment. The performance characteristics of qualitative IVD medical devices can include: — analytical sensitivity (fraction of true positive results in samples containing the analyte); — analytical specificity (fraction of true negative results in samples containing the analyte); — diagnostic sensitivity (fraction of true positive results in patients with disease); — diagnostic specificity (fraction of true negative results in patients without disease). |  |
| H.2.2.3 Reliability characteristics related to patient safety |  |
| When clinicians depend on IVD examination results for urgent medical decisions, such as in emergency or intensive care settings, timely results can be as important as accurate results. Failure to produce a result when it is needed can delay necessary medical intervention. The reliability characteristics of IVD medical devices can include: The reliability characteristics of IVD medical devices can include: — system reliability (mean time between failures, mean time to failure); — component compatibility (including versions and critical tolerances); — software reliability (error-free operation); — reagent or control stability; — system usability (avoidance of use errors). |  |
| H.2.2.4 Digital information technology characteristics related to patient safety |  |
| Correct identification of the patient and the sample is clearly essential. Some examinations also require ancillary information about the patient, the sample, or the examination for proper interpretation of the results. If an IVD medical device is designed to collect, store and report such information with the examination result, device characteristics leading to data corruption or alteration can contribute to misdiagnosis or inappropriate therapy. The ancillary patient information required by the clinicians can include : The ancillary patient information required by the clinicians can include: — correct patient name and sample identification; — patient details (age, gender, population, genetic factors, medications, nutritional state); — sample details (sample type, description, acquisition time); — measurement details (measurement procedure, units of measure, measurement uncertainty); — application details (cut-off points, reference intervals). Digital information technology characteristics that can affect patient safety include: — connections between devices and/or networks (wireless or wired); — internet data transmission; — interface with digital applications (networked or mobile); |  |
| H.2.3 Known and foreseeable hazards to patients |  |
| H.2.3.1 Identification of Hazards |  |
| a. Incorrect examination result For quantitative and semi-quantitative examinations, results are considered incorrect if the difference from a correct value exceeds the error limit required for the clinical application. Analytical performance requirements are typically established during the design input process. Some medical decisions can be influenced by the magnitude of the examination result, so the clinical significance of an incorrect result can depend on the magnitude of the difference between the measured value and the true value. |  |
| b. Delayed examination result An examination result or its ancillary information is considered delayed if it is needed for a medical decision and the clinician does not receive it in time to support a critical therapeutic or intervention decision. Criteria can be established to define what constitutes a clinically significant delay for the medical application (e.g. urgent care situation). |  |
| c. Incorrect information accompanying the results The consequences of an error in the ancillary information provided with an IVD examination result depends on how the information is used in clinical decision making, and whether the error could cause or contribute to harm. |  |
| H.2.3.2 Identification of hazards from fault conditions |  |
| IVD medical devices that fail during use can lead to one or more of the general hazards defined in H.2.3.1. Fault conditions potentially leading to hazards can include the following: — within-batch or batch-to-batch inconsistency (e.g. reagents, calibrators, controls); — non-traceable value assignment (e.g. calibrators, proficiency materials, assayed controls); — reagent non-specificity (e.g. interfering factors, antibodies); — sample or reagent carryover (e.g. pipetting instruments); — measurement imprecision (e.g. system-level); — unstable materials (e.g. during transportation, storage or use); — system malfunctions (e.g. hardware, software, components, accessories); — digital technology failures such as: — software/firmware vulnerability to intrusion (e.g. data modification or theft). — data transfers resulting in incorrect or missing results, inappropriate treatment recommendations, or delays from loss of function due to environmental conditions (e.g. electrostatic discharge, ESD); — connections disrupting the performance of the connected medical device, creating unsafe conditions for the patient; — digital applications incorrectly connected to another device or digital application; — corruption during data storage that causes incorrect information or delayed results; or — delays in availability of results or patient information due to loss of network connectivity. When the IVD medical device is used with digital software applications, failures leading to a delay of results include: — smart device operating system changes, resulting in application not being available and causing delay of treatment, or in unexpected behaviour causing incorrect recommendation for treatment; — smart device data storage capacity or rate of transfer data limitations, resulting in delay of treatment or incorrect recommended treatment; — time inconsistencies between application and smart devices, resulting in delay of treatment or incorrect results (specifically related to out-of-date results appearing as valid). |  |
| H.2.3.3 Identification of hazards from normal use |  |
| Hazards potentially occurring in normal use can include inaccurate results due to the following: — inherent false negative and false positive rates of qualitative examination procedures caused by the uncertainty of statistically assigned cut-off values; — measurement uncertainty associated with quantitative examination procedures (performance claims often represent 95 % of the results within medically defined target limits); ﻿— misclassification of results as “abnormal” or outside a “normal” reference interval (determined empirically from the central 95 % of results in a “normal” population study); — influence of interfering substances in the sample (e.g. cross-reacting antibodies, certain drugs or biochemical metabolites, or sample preparation materials); — biological variability of the analyte itself (e.g. heterogeneity of natural proteins, population differences in normal analyte concentrations); — chemical properties of the analyte itself (e.g. intrinsic instability, adhesiveness); — variability of the patient sample matrix (i.e. “matrix effects”); — the finite reliability of instrument components. |  |
| H.2.3.4 Identification of hazards from use errors |  |
| Use errors potentially leading to IVD hazards in the medical laboratory or at the point of care can include the following: — overlooking special requirements (e.g. outside the normal laboratory routine); — performing operations out of sequence, including pre-examination and post-examination processes (e.g. unclear instructions, confusing user interface); — data entry errors (e.g. patient name, identification number, birth date or age, gender, etc.). Use errors by patients performing self-testing can include the following: — applying insufficient volume of sample (e.g. too little for accurate measurement); — inserting reagent module improperly (e.g. before device is ready for measuring). |  |
| H.2.3.5 Identification of hazards from reasonably foreseeable misuse. A usability engineering process can also help manufacturers of IVD medical devices to prevent hazards and hazardous situations arising from reasonably foreseeable misuse. See IEC 62366-1 for guidance. |  |
| Examples of reasonably foreseeable misuse include the following: — use of an IVD medical device prior to reading the instruction manual or completing training; — disregard of warnings, instructions, or other information for safety; — collection of an inappropriate sample type (e.g. serum when citrated plasma is specified); — reporting examination results for contraindicated or unvalidated clinical use; — using a self-testing IVD medical device in a critical care setting (e.g. accuracy might not be adequate); — using unverified third-party calibrator, reagent, control material or accessory; — storing materials in incorrect conditions (e.g. room temperature when refrigeration is specified); ﻿— operation of an IVD instrument outside specified environmental conditions; — disabling, overriding, or failing to enable safety features (e.g. to reduce annoyance to users); — neglecting to perform prescribed instrument maintenance; — connection to an information system without adequate network connectivity or security; — malicious intent to create incorrect results or delay in treatment, including: — hijacked and impersonated device by third-party application or individual to alter results, producing incorrect results on connected digital applications; — corrupted device software configuration, producing incorrect results; — intercepted data in transit to delay results or send incorrect results to the user. Reasonably foreseeable misuse by patients performing self-testing can include the following: — dividing or reusing reagent test strips (e.g. to reduce cost); — taking samples from an alternative site (e.g. other than fingertip due to pain); — failing to clean and disinfect the venipuncture site (e.g. potential for contamination/infection); — storing reagent strips in inappropriate environmental condition (e.g. overheated vehicle). |  |
| H.2.4 Identification of potential harms |  |
| a. Is the intended use a major determinant of therapy for a serious medical condition? If so, what harms might occur from a misdiagnosis or inappropriate therapy? |  |
| b. Does the intended use involve detection of an infectious disease agent (e.g. hepatitis A or HIV)? If so, could a false negative result allow the infection to spread to others in the population? |  |
| c. Is the intended use to detect and diagnose an inherited condition (e.g. sickle cell disease, hemoglobinopathy carrier, predisposition to Alzheimer’s disease, increased risk of breast cancer, etc.)? If so, could a false negative result allow progression of an otherwise preventable or treatable disease? Could a false positive result lead to unnecessary medical intervention and potential harm? |  |
| d. Is the intended use to predict drug or device effectiveness? If so, could a false negative result cause the loss of therapeutic benefits and subsequent harm? Could a false positive result have harmful consequences? |  |
| e. Is the intended use to screen transfusion or transplant donors? If so, could incorrect results cause transmission of disease to recipients or lead to rejection of a properly functioning organ? |  |
| f. Is the intended use to monitor a critical body function? If so, what harms might occur from an incorrect result or a significant delay in receiving the result? |  |
| g. If medical intervention occurred, would the outcome be irreversible (e.g. surgical resection, abortion), or would the outcome be reversible (with or without further medical intervention)? |  |
| h. Does the IVD medical device require connection to a network or the internet, where modification or theft of a patient’s data could occur (e.g. inadequate security)? |  |
| H.2.5 Identification of hazardous situations |  |
| a. Is the condition that is the subject of the IVD examination such that a false negative or false positive result would still appear “believable” given the likely context of other diagnostic indicators, and therefore not be further confirmed before deciding on a course of clinical action/inaction? |  |
| b. Are there few, limited or no other diagnostic tools available to confirm or deny a potentially false positive or false negative IVD test result? |  |
| H.2.6 Identification of foreseeable sequences of events |  |
| H.2.6.2 Description of the sequence of events |  |
| a. Events under control of the manufacturer The initiating event in the sequence leading to a hazardous situation can occur as a failure of the manufacturer’s quality management system. A fault condition or potential for use error can be caused by activities under a manufacturer’s direct control, such as: — design and development; — device labelling; — manufacturing and supplier management; — product inventory and distribution; — equipment servicing; — training and product support |  |
| b. Events under control of the user of the IVD medical device Examples of activities typically under the user’s control, using information, materials and support from the IVD medical device manufacturer, include: — selection, usage and storage of sample collection device used with the IVD medical device; — collection, processing and storage of patient samples; — system installation and setup, including user training, component or consumable qualification, and performance verification; — selection, preparation, usage and storage of accessories, consumables, and parts (including expiry date management); — calibration activities and metrological traceability; — quality assurance activities (e.g. quality control, proficiency testing, delta checks); — review and reporting of examination results; — communication with clinicians (intended use, contraindication, recalled results, surveillance); — local network and internet connectivity; — biohazardous waste disposal; — equipment maintenance, servicing, decommissioning and disposal; — contingency and recovery planning (e.g. backup systems). |  |
| c. Events under control of the clinician Examples of decisions and activities typically under the clinician’s control, potentially with guidance and support from the laboratory, include — comparing the result to expected values — requesting confirmatory or corroborating examinations — proceeding without the examination result (if delayed) — establishing a clinical diagnosis; — initiating or withholding therapy. |  |
| H.2.7 Estimation of the probability of occurrence of harm |  |
| Refer to Table H.1 |  |
| H.3 Risk control |  |
| H.3.2 Inherently safe design and manufacture Examples of design features that control the accuracy and reliability of the examination results include the following: — trueness of the calibrator values (e.g. traceability to a recognized reference standard); — measurement uncertainty (e.g. precision of the measuring system); — analytical specificity of IVD reagents (e.g. optimized components); — detection limit or quantitation limit (e.g. improved measurement technology); — reliability of the instrument (e.g. minimize hardware or software failures); — discrimination between positive and negative samples (e.g. robust cut-off value); — eliminating mistake-prone procedural steps (e.g. automation, mistake-proofing); — component version traceability and positive sample identification (e.g. bar-coding); — software functionality (e.g. state of the art coding standards); — system ease of use (e.g. usability engineering); — data network and internet connections (e.g. security); — reduced reagent or calibrator variability (e.g. lot-to-lot specifications, supplier requirements); — prevention of spurious results (e.g. intermittent component failures); — stability of reagents, calibrators or control materials (e.g. microbiological control); |  |
| H.3.3 Protective measures in the IVD medical device or manufacturing process Examples of detection features in the IVD medical device or reagent kit intended to prevent conditions that can cause incorrect or delayed results include: — liquid level sensors to ensure sufficient sample volume (e.g. detect “short draws”); — fault detection systems (e.g. spectrophotometer drift, inadequate temperature control); — sample quality checks (e.g. hemolysis, icterus, lipemia); — controls to detect and remove sample artefacts (e.g. foam or fibrin clots); — built-in controls to verify correct calibrator or reagent lots (e.g. bar code readers); — alarms and error messages to alert users to fault conditions and recovery procedures; — software that identifies questionable results for reflex testing, review or suppression; — incoming inspections of supplied components; — in-process acceptance testing and final-product acceptance testing. |  |
| H.3.4 Information for safety Examples of information for safety that enable users to control risks include warnings, instructions and other information addressing: — chemical or biological hazards associated with the IVD medical device; — contraindicated medical conditions or clinical applications; — sample collection, storage and preparation; — identification of inappropriate sample types; — interfering substances detectable by the user (e.g. visible haemolysis); — causes of hazards, including potential use errors; — incompatible system components and accessories; — utilities and facilities where the IVD medical device is to be installed (e.g. use environment); — improper reagent storage or use beyond the expiry date; — installation, servicing and disposal of the IVD medical device; — quality control samples and frequency; — validated measuring intervals and dilution instructions for samples when the measured values are above the upper limit of the measuring interval; — biological reference intervals and medical decision points; — validated cleaning methods for reusable items; — preventive maintenance procedures; — interface and connectivity requirements; — backup and recovery in case of system failure. |  |
| H.3.5 Role of standards and analytical performance criteria |  |
| - ISO 15197(self-monitoring devices for blood glucose) - ISO 17593 (self-monitoring devices for oral anticoagulant therapy) - ISO 17511 defines a process for establishing the metrological traceability - ISO 17822-1 (nucleic acid-based detection systems) - ISO 20776 (antimicrobial susceptibility) - ISO 20916 (clinical performance studies) - ISO 23640 (stability of IVD reagents) - IEC 61010-2-101 (safety of IVD equipment) - IEC 61326-2-6 (electromagnetic compatibility of IVD equipment), - IEC 80001-1(networked medical devices). |  |
| H.3.6 User education and training |  |
| For complex user interfaces, difficult examination procedures, or critical clinical applications, information for safety can take the form of training and education programs offered by the manufacturer to help avoid use errors. Training materials suitable for use in continuing education programs can also be provided. ISO 17593 requires the manufacturer to provide a validated training program for clinicians and an education program for patients and other users of these devices. |  |
| In determining the degree of risk reduction attributable to information for safety, consider that: — The use environment, competence and capabilities of device users can vary widely; — Quality control and quality assurance practices are not uniform around the world; and — Information about contraindicated medical use and interfering drugs provided to IVD medical device users might not always reach the clinicians who order the examinations. |  |
| H.4 Benefit-risk analysis |  |
| If it is not possible to describe the benefits of an IVD medical device directly, surrogate endpoints can be established. Examples include the ability of an IVD medical device to identify a specific disease, to provide diagnosis at different stages of a disease, to predict future disease onset, and/or to identify patients likely to respond to a given therapy. |  |
| H.5 Disclosure of the residual risks Disclosure of residual risks for IVD medical devices can take different forms, including information provided in the accompanying documentation about the performance specifications (“claims”), limitations of the IVD medical device or examination procedure, and/or potential causes of hazards and hazardous situations that could not be eliminated by the manufacturer. The disclosure of residual risks is in addition to the risk control measures provided to users as information for safety. |  |
| H.5.2 Performance specifications |  |
| The description of the performance characteristics should be sufficiently detailed so the laboratory or other users can: — verify that the IVD medical device is performing as intended by the manufacturer; — determine the measurement uncertainty associated with the examination results; and — know that the examination results will meet the medical needs of the clinicians. Results of performance evaluations conducted in actual or simulated use conditions can be summarized and presented in the accompanying documentation. |  |
| H.5.3 Limitations of the IVD medical device ISO 18113-1 requires that the analytical and clinical limitations of the IVD medical device be disclosed in the accompanying documentation. |  |
| The limitations describe situations in which the IVD medical device might not perform as intended and can therefore be a means of disclosing residual risks, such as: — Interfering substances not detectable by the user (e.g. drugs, biological metabolites); — Specific patient populations in which the performance characteristics might not apply; — Values outside the measuring interval (where performance characteristics are not validated); — Patient populations where reference intervals or medical decision points might not apply; — Primary sample types that have not been validated for the intended use; — Circumstances and factors that might affect examination results, but have not been studied |  |
| H.5.4 Generally recognized limitations of use |  |
| Implicit in warnings, instructions and other information for safety is the understanding that failure to follow them can result in hazards and hazardous situations. It is not expected that manufacturers will specifically call out all such violations as residual risks. Failure to follow an explicit warning or instruction is considered misuse (see H.2.3.5). — It is expected that electromechanical equipment will occasionally fail and require servicing, and that biological materials used beyond their expiry date can become unstable and fail. — It is also expected that laboratories will implement a contingency plan (e.g. backup systems or an alternative laboratory) to ensure that essential services are available during such situations (see ISO 15189). |  |
| H.6 Production and post-production activities When establishing a system for collecting post-production information, manufacturers can use the product risk analysis to develop a classification and coding scheme for anticipated harms, hazardous situations, hazards, and their causes, which can facilitate risk-based prioritization of investigations. Events can be classified according to the estimated severity of the potential harms, as well as the probability that incorrect or delayed results would lead to harm. Such a tool can be useful for complaint handling, post-market surveillance and adverse event reporting as well as product failure investigations |  |
| H.6.2 Monitoring analytical performance |  |
| An effective system to collect production and post-production information for IVD medical devices requires monitoring of analytical performance data available from both internal and external sources. Internal sources of performance data can include production data routinely collected during product release testing, value assignment activities, stability monitoring processes and product failure investigations. External sources of performance data can include data routinely obtained from voluntary participation in external quality control and proficiency testing programs, user performance evaluations, and instrument installation and servicing activities. |  |
| H.6.3 Monitoring clinical performance |  |
| Medical laboratories generally have no way to know that a reported result was incorrect and could have led to an inappropriate medical decision, intervention or injury unless they receive a complaint from the clinician. For this reason, the severity of any reported harms and their frequency should be carefully monitored as part of post-production activities. In addition to monitoring customer feedback about clinical incidents, the manufacturer should investigate more sources to learn about new and emerging hazards or hazardous situations occurring with similar products. Such sources can include adverse event and recall databases maintained by regulatory authorities, as well as reports from public safety institutes, national medical laboratory associations and the medical literature. |  |
| H.7 Examples of risk scenarios for IVD medical devices |  |
| H.7.2 Automated medical laboratory analyser: incorrect examination result |  |
| In this scenario, a patient is being diagnosed by a clinician who orders an IVD examination from the central medical laboratory. If the result generated by the IVD medical device is incorrect and is reported to the clinician, a sequence of events leading to harm could occur as follows: a) initiating event occurs (e.g. a device fault or use error); b) IVD medical device produces a clinically incorrect examination result (i.e. a hazard); c) device user fails to detect the incorrect result (or its cause); d) device user reports the incorrect result to the clinician (i.e. a hazardous situation); e) clinician does not identify the result as incorrect; f) incorrect result misleads clinician to a misdiagnosis; g) clinician inappropriately intervenes/does not intervene; and h) patient is injured by the clinician’s intervention/non-intervention (i.e. experiences harm). |  |
| H.7.3 Personal (self-testing) device: incorrect classification of glycaemic status |  |
| In this scenario, a patient diagnosed with Type 2 Diabetes Mellitus regularly monitors his or her blood glucose concentration and self-administers an anti-glycaemic drug when the results indicate hyperglycaemia. Although the patient was actually hypoglycaemic, the IVD medical device incorrectly﻿ gave an elevated result and the anti-glycaemic drug caused the patient to become even further hypoglycaemic. A sequence of events leading to harm could occur as follows: a) initiating event occurs (e.g. device fault or use error); b) personal IVD medical device produces a clinically incorrect glucose result (i.e. a hazard); c) patient does not identify the result as incorrect; d) incorrect result misleads patient to inappropriate therapeutic decision (i.e. a hazardous situation); e) patient administers antiglycaemic therapy; and f) patient becomes significantly hypoglycaemic (i.e. experiences harm). |  |
| H.7.4 Portable IVD medical device for the point of care: critical result delayed |  |
| In this scenario, a patient suspected of internal injuries is being treated in an urgent care facility, which performs an IVD examination to assess potential organ damage. Although the user followed the instructions for use, the IVD medical device displayed an error message and the examination result was not available when the clinician needed to decide whether or not to undertake an emergency procedure. A sequence of events leading to harm could occur as follows: a) initiating event occurs (e.g. device fault or use error); b) IVD medical device fails to produce a clinically necessary examination result (i.e. a hazard); c) device user cannot repeat the examination within the required timeframe; d) result is not available to the clinician to support intervention decision (i.e. a hazardous situation); e) clinician takes critical decision / action without benefit of the examination result; f) clinician’s decision / action is not appropriate for the patient’s condition); and g) patient is injured by the clinician’s action/inaction (i.e. experiences harm). |  |