| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

The purpose of the Engineering Change Order (ECO) procedure is

1.1 To have a systematic approach on initialization, processing and controlling of engineering changes.

1.2 To track and ensure traceability of engineering changes implemented in production.

- SCOPE

This procedure applies to the engineering change for all products designed and manufactured by Kyron .

- REFERENCES

  - External Documents

    - ISO 13485:2016

  - Related Documents

    - Quality Manual

- DEFINITIONS

| ECO | Engineering Change Order |
| --- | --- |

- RESPONSIBILITY

  - Originator shall be responsible to

    - Initiate the ECO Form.

    - Coordinate with Process Owners on the completion of testing and documentation that support the change.

    - Coordinate with Process Owners to identify the necessary changes and impact assessments following the change.

    - Coordinate with Process Owners on the change implementation.

  - QA Department shall be responsible to

    - Issue ECO Number to Originator

ECO YYYY-XX

where

YYYY: Current year

XX: running number

    - Update status into the Engineering Change Tracking Sheet

    - Notify relevant departments on the release of ECO

  - Heads of Department (HOD) of the following departments, as applicable, shall be responsible to approve or reject the ECO.

    - Manufacturing

    - Quality Assurance / Regulatory Affairs (QA/RA)

    - Product Development (R&D)

    - Sales and Marketing

- PROCEDURES

  - Initiate Engineering Change Order (ECO) Form

    - Changes in relation to product design, software, material, specification, and manufacturing work instruction/process shall be documented on the ECO form. The changes shall be reviewed, verified, validated (as appropriate) and approved before their implementation.

- Initial release of the product design shall follow the same ECO procedures.

    - Initiate the Engineering Change Request in the ECO Form with the details of:

      - Affected Product/Model/Part Number

      - Type of Change

      - Description of Change

      - Reason of Change

      - Justification – to provide all supporting testing and documentation in relation to the change

      - Documentation / Process Checklist – identify the changes/actions required for the ECO implementation

    - Route the ECO for approval.

    - HOD with the help of relevant Process Owners, determine the significance of the change to function, usability, safety and applicable regulatory requirements for the medical device and its intended use before approving.

    - QA Department shall notify the relevant departments on the release of ECO once approved.

  - ECO Implementation

    - Relevant Process Owners shall prepare necessary changes, testing and documentation for executing of the Engineering Change Order (ECO).

    - Originator shall coordinate the changes/actions required.

    - Relevant Process Owners shall resolve any issues encountered during preparation of changes and testing.

  - Review Implemented ECO

    - Review to ensure all necessary changes/actions, testing and documentation for supporting the ECO have been completed and accepted.

    - Determine the batch/lot of existing product/part affected by the change.

    - Determine the disposition and provide rationale.

    - Conduct risk assessment.

    - Assign the effective date(s) of implementation.

    - Route the ECO for approval.

    - QA Department shall notify the relevant departments on the effective date(s) of change implementation.

  - ECO Closure

    - Review implementation of disposition of existing product and close the ECO upon completion of the implementation.

    - QA Department shall update status into the Engineering Change Tracking Sheet.

6.5    Reporting

6.5.1	Major changes made to the product (like design, material change, shelf life, software), processes, manufacturing activities and quality management system shall notify to notified body/auditing organisation.

6.5.2 	Major changes shall communicate to respective regulatory authorities where the products are in distribution via jurisdiction change notification platform.

- RECORD

7.1 FM-11001   Engineering Change Order Form

7.2 FM-11002   Engineering Change Tracking Sheet

- APPENDIX

NA