| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| DCO no. | Revision | Change Description | Author | Effective Date |
| --- | --- | --- | --- | --- |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

This document defines the requirements for regulatory personnel to liaise respective country authority for registration of new medical device product registration and any changes to existing devices in fulfilling the country’s regulation requirements.

- SCOPE

This document applies to medical devices distributed by the Kyron in respective jurisdiction based on their requirements.

- REFERENCES

  - External Documents

    - ISO 13485:2016

  - Related Documents

    - Quality Manual

4.0  DEFINITIONS

| CA | ## Competent Authority: The government authority, to which product registration & change notification is required by the specific country |
| --- | --- |
| CAB | Conformity Assessment Body |
| QA/RA | Quality Assurance / Regulatory Affairs |
| OEM | Original Equipment/Device Manufacturer |
| MDR | Medical Device Regulation |
| CDSCO | Central Drugs Standard Control Organisation |

.

5.0  RESPONSIBILITIES

RA Department is responsible for the following:

- Prepare and submit dossier applications for the registration of products and/or notification of changes of registered products and/or the Quality Management System to the relevant Regulatory Authority.

- Coordinate all contacts with the relevant authorities and/or local representatives relating to the regulatory impact on the registration of products and its changes of existing products and/or the Quality Management System of the company.

- Maintains the submitted dossier in accordance with Control of Document, Change Order and Record Procedure (QS-03-QA).

- Updating the dossier of each product including its changes submitted to Regulatory Authority .

###### PROCEDURE

### 6.1 Product Registration – Information Request Preparation

### For new registration of a medical device, RA shall submit required documents required by the Regulatory Authority.

###### 6.2Product Registration

### 6.2.1 The general steps of registering a medical device:

### Group the Medical Devices that the Manufacturer intends to register according to the country requirements.

### Classify the Medical Device according to the country requirements.

### Identify regulatory path according to the country requirements.

### Compile country dossiers according to country requirements.

### Submit the new product registration dossier. Shall there be additional information requested, RA shall work closely with the departments in preparing the relevant information and documents and furnish the Authority within the stipulated date.

### For manufacturing license, submit the dossier online in the portal and wait for the query from CDSCO. The query response to be submitted in the portal followed by regulatory audit. The audit completion will lead to regulatory approval for manufacturing for the approved product.

### RA shall maintain the submitted dossier and status documentation upon the approval.

###### 6.3Change Product Registration

### Shall there be any change in the registered product, RA will be notified.

### RA shall prepare the dossier for changes to the products, production processes &/or the QMS to Regulatory Authority (CDSCO)

### RA shall maintain the submitted dossier, status documentation and status of approval.

  - Upon approval, RA shall notify the respective department of the changes to be implemented and the timeline for the transition of the changes.

7.0  RECORD

Refer to respective jurisdiction forms for application and change notification.

8.0  APPENDIX

NA