| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| DCO no. | Revision | Change Description | Author | Effective Date |
| --- | --- | --- | --- | --- |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

This procedure is to ensure that product information/labelling requirements (including packaging materials, labels, IFU, manuals, marketing material, etc) and medical device symbol are correctly implemented and presented in English language in general and they are also subjected to respective jurisdiction requirement. If Kyron website is made available, it shall be considered into account.

For EU mandatory languages requirement for medical device shall refer to Appendix 1.

- SCOPE

Apply to all medical device manufactured/distributed by Kyron Healthcare.

- REFERENCES

3.1 External Document

3.1.1  ISO 20417:2021     Information to be supplied by the manufacturer

3.1.2  ISO 15223-1:2021   Medical devices – Symbols to be used with information to be

supplied by the manufacturer.

3.1.3 BS EN ISO 20417:2021 It covers the applicable requirements for identification and labels on a medical device or accessory and its packaging, the marking of a medical device or accessory, and the accompanying information

3.2 Related Document

3.2.1  Quality Manual

3.2.2  QS-05-EG Design Control Procedure

- DEFINITIONS

| IFU | Information For Use |
| --- | --- |
| QA/RA | Quality Assurance / Regulatory Affairs |

- RESPONSIBILITY

## 5.1 QA/RA is responsible;

- To ensure labelling requirements and IFU contents comply to regulatory requirements.

- To ensure compliance with the mandatory languages required in each country where the devices are distributed.

- To ensure medical device symbol is use appropriately.

5.2 Sales and Marketing is responsible to liaise with importers/distributors to ensure marketing materials (including product website) comply to respective regulatory requirements

## .

- PROCEDURES

  - Labelling, Packaging and Accompany Information Requirements

Information supply for each device shall be accompanied by the information needed to identify the device and Kyron. Such information may appear on the device itself, on the packaging or IFU.

Information on labels, packaging and accompanying information shall refer to ISO 20417:2021.

  - Language Translation

6.2.1 When a device has planned to distribute in respective jurisdiction, Kyron shall ensure mandatory language is applied appropriately.

6.2.2 QA/RA shall communicate with qualified translation providers to translate relevant documents/labelling upon request by respective jurisdictions’ authorities or consultants.

  - Medical Device Symbol

Medical device symbol use on packaging / IFU shall comply to ISO 15223-1.

  - Medical Device Label review

Before the labels are printed, the label form will be filled and verified by the respective production in-charge in coordination with QA.

- RECORD

NA

- APPENDIX

FM-21001-01 Labelling review form