| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

This procedure ensures monitoring of the calibration program for all the measuring devices installed in the facility.

- SCOPE

This procedure is applicable to all measuring devices installed in Kyron Healthcare.

- REFERENCES

  - External Documents

3.1.1     ISO 13485:2016

  - Related Documents

    - Quality Manual

- DEFINITIONS

Calibration : Calibration is the determination of the accuracy of an instrument, usually by measurement of its variation from the standard to ascertain necessary correction factors.

- RESPONSIBILITY

5.1 All individual department heads are responsible to maintain the equipments in their dept

- PROCEDURES

6.1 Calibration of Medical Device

- The calibration activity of all the instruments used for measuring shall be carried out either In-house or by the approved outside agencies.

- The calibration schedule shall be monitored by Maintenance In Charge and intimation to the calibrating agencies shall be given one month prior to the due date by the Maintenance In-charge.

- The calibration shall be done according to the procedures and approved standards of the calibrating agencies.

- Each instrument should indicate the Equipment Tag #, Date of calibration and Next due date of calibration.

- All calibrated measuring instruments, which have known errors, or if there is a known measurement uncertainty, the uncertainty or error shall be considered while taking measurements. The error shall be indicated on the instrument.

- Any damaged equipment/instrument used for measurement of material, if found later, the material shall be re-inspected with a calibrated Instrument, if it is available in the unit.

- Deviation in calibration if identified shall be communicated to all users within the organization. This shall be done by Maintenance In charge.

- Instruments shall be re-calibrated if damaged during Inspection or handling.

- The certificates of calibrations should be provided, which specifically indicates what equipment it refers to and Certificate #, Date & Validity, Tag # of the instrument.

- The calibration certificate should also have details of the master instruments used for calibration along with the traceability certificates to national and international standards.

- The Calibration certificates supplied by the Calibrating agency shall be reviewed, signed and dated by the QA In Charge.

- If the Calibration is done In-house, the QC In-charge will be responsible for calibrating the measuring device and also accordingly he shall be preparing the Calibration Report and also maintaining the Calibration Record.

- The QA In Charge shall review, sign and date the In-house Calibration report.

- Calibration Frequency : Once in a year

6.2 Analysis of calibration record

All the measuring and monitoring equipments shall be calibrated on regular basis and the calibration report of the same shall be maintained for records. The Schedule of calibration program and calibration reports along with their traceability reports (national and international traceability reports) shall be analyzed on monthly basis. Records are maintained with Maintenance Department.

6.3 Out of Calibration:

- If during calibration, the equipment does not conform to any of the specification, remove the respective instrument / equipment from use, and label it with a tag stating "Out of Calibration".

- Replace the same with a new calibrated instrument / equipment or repair the instrument / equipment and recalibrate it before use.

- RECORD

FM-24001-01 Calibration Record

FM-24002-01 Equipment List

- APPENDIX

NA