| Roles | Name | Designation | Signature | Date |
| --- | --- | --- | --- | --- |
| Author |  |  |  |  |
| Reviewer |  |  |  |  |
| Approver |  |  |  |  |

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| DCO no. | Revision | Change Description | Author | Effective Date |
| DCO XXXXX | 01 | Initial Release |  | XX-XXX-XXXX |

- PURPOSE

## 1.1 This procedure defines the format of a Technical File to guide the QA/RA Department

## when preparing a Technical File for submission.

## 1.2   This procedure defines the process of updating and maintaining the technical files.

- SCOPE

## This procedure applies to all products under product owner at Kyron Healthcare.

- REFERENCES

  - External Documents

    - MDR 2017 CDSCO

3.2  Related Document

3.2.1  Quality Manual

- DEFINITIONS

| TF (Technical File) | Compilation of records that show compliance to the essential requirements for one single product (family). The technical file is a controlled document. |
| --- | --- |
| QA/RA | Quality Assurance / Regulatory Affairs |
| EC Declaration of Conformity | Document in which the manufacturer states that the product fulfils the essential requirements of the applicable CE marking directives or regulations. By drawing up and signing the EU Declaration of Conformity, the manufacturer assumes responsibility for the compliance of the product |

- RESPONSIBILITY

The QA/RA department is responsible for this procedure and ensure TF contents are updated and

Maintained.

- PROCEDURES

  - Technical File

Technical File is required for CE-mark medical devices. As per Technical Documentation guidance EU MDR 2017/746 (Annex II), the content of Technical File should include following, detail :

- Administration

- Device Description and Specification, Including Variants and Accessories

- Information To Be Supplied by The Manufacturer

- Design and Manufacturing Information

- General Safety and Performance Requirements

- Benefit-Risk Analysis and Risk Management

- Product Verification and Validation (Pre-clinical and clinical data)

- Post Market Surveillance

## 6.1.1 Distribution of the TF.

The original TF are kept in the Company office and maintain by QA/RA department.

A copy will be submitted to the Notified Body / Regulatory Authority / EU Authorized      representative upon request.

## 6.1.2 Review of the TF.

QA/RA manager is responsible to review the TF at least once a year or when necessary. Changes made in the TF will be documented in the cover page of the TF in the History Table.

  - CE Mark

Product that conforms to EU 2017/746 requirements, shall bear the CE of conformity.

The CE marking shall be affixed visibly, legibly and indelibly to the device or its sterile packaging. Where such affixing is not possible or not warranted on account of the nature of the device, the CE marking shall be affixed to the packaging. The CE marking shall also appear in any instructions for use and on any sales packaging.

Where applicable, the CE marking shall be followed by the identification number of the notified body responsible for the conformity assessment procedures. The identification number shall also be indicated in any promotional material which mentions that a device fulfils the requirements for CE marking.

  - MDR Technical File

Indian Medical device file to be prepared as per MDR 2017 before CDSCO filing.The documentation needs to be prepared with the support of design and production team.

- RECORD

- Declaration Of Conformity (DOC)

- Technical File

- DMF

Retention period of technical documentation, the EU declaration of conformity and, if applicable, a copy of any relevant certificate, including any amendments and supplements, available for the competent authorities for a period of at least 10 years after the last device covered by the EU declaration of conformity has been placed on the market.

- APPENDIX- Device Master File

EXECUTIVE SUMMARY:

- An executive summary shall be provided by the manufacturer and shall contain:

- Information regarding sterilization of the device (whether it is sterile or non-sterile; if sterile, mode of sterilization).

- Risk Management Plan, Risk Analysis, evaluation and control documents.

- Clinical Evidence and evaluation (if applicable).

- Regulatory status of the similar device in India (approved or not approved in India). Characteristics; Your device; Predicate 1; Predicate 2. Device name. Indication. Intended use of device. Materials. Manufacturer Details. Shelf life.

- Design Examination Certificate, Declaration of Conformity, Mark of Conformity Certificate, Design Certificate (if applicable). Copy of such certificate(s) shall be enclosed.

- Marketing history of the device from the date of introducing the device in the market.

- Domestic price of the device in the currency followed in the country of origin.

1.7 List of regulatory approvals or marketing clearance obtained (submit respective copies of approval Certificates):

Status of market clearance pending, rejected or withdrawn Regulatory Agency; Indication; Registration status and date; Rejection /withdrawal; Reason for rejection /withdrawal.

1.8 Safety and performance related information on the device:

- Summary of reportable event and field safety corrective action from the date of introduction: -

- If the device contains any of the followings, then descriptive information on the following need to be provided. 1. Animal or human cells tissues or derivatives thereof, rendered non-viable (e.g. Porcine Heart Valves).

2. Cells, tissues or derivatives of microbial recombinant origin (e.g. Dermal fillers based on Hyaluronic acid derived from bacterial fermentation process).

3. Irradiating components, ionising or non-ionizing.

2. Device description and product specification, including variants and accessories 2.1 The dossier should contain the following descriptive information for the device:-

- A general description including its generic name, model name, model no., materials of construction, intended use, indications, instructions for use, contraindications, warnings, precautions and potential adverse effects;

- the intended patient population and medical condition to be diagnosed or treated and other considerations such as patient selection criteria;

- principle of operation or mode of action, accompanies by animation or videos (if available);

- any novel features

- a description of the accessories, other medical device and other product that are not medical device, which are intended to be used in combination with it and it should also be clarified whether these accessories or device are supplied as a system or separate components;

- a description or complete list of the various configurations or variants of the device that will be made available;

- a general description of the key functional elements, eg. its parts or components (including software if appropriate), its formulation, its composition, its functionality and where appropriate, this will include: labelled pictorial representations (e.g. diagrams, photographs, and drawings), clearly indicating key parts or components, including sufficient explanation to understand the drawings and diagrams;

- a description of the materials incorporated into key functional elements and those making either direct contact with a human body or indirect contact with the body, e.g., during extracorporeal circulation of body fluids. Complete chemical, biological and physical characterization of the material (s) of the medical device;

- for medical devices intended to emit ionizing radiation, information on radiation source (e.g. radioisotopes) and the material used for shielding of unintended, stray or scattered radiation from patients, users and other persons shall be provided.

2.2 Product Specification

The dossier should contain a list of the features, dimensions and performance attributes of the medical device, its variants and accessories, that would typically appear in the product specification made available to the end user, e.g. in brochures, catalogues etc.

2.3 Reference to predicate or previous generations of the device:

Where relevant to demonstrating conformity to the essential principles, and to the provision of general background information, the dossier should contain an overview of:

- Previous generation of device, if exist:

- Predicate device available in domestic and international market

- comparative analysis to prove substantial equivalence to the predicate device(s) as claimed.

3.0 LABELLING:

The dossier should typically contain a complete set of labeling associated with the device as per the requirements of Chapter VI of these rules. Information on labelling should include the following: -

- Copy of original label of the device, including accessories if any, and its packaging configuration

- Instructions for use (Prescriber’s manual);

- Product brochure; and

- Promotional material.

4. DESIGN AND MANUFACTURING INFORMATION:

4.1 Device Design:

The dossier should contain information to allow the reviewer to obtain a general understanding of the design stages applied to the device.

4.2 Manufacturing Processes:

The dossier should contain information to allow the reviewer to obtain a general understanding of the manufacturing processes. The information may take the form of flow chart showing an overview of production, manufacturing environment, facilities and controls used for manufacturing, assembly, any final product testing, labelling and packaging and storage of the finished medical device. If the manufacturing process is carried out at multiple sites, the manufacturing activities at each site should be clearly specified.

5. ESSENTIAL PRINCIPLES CHECKLIST:

6. Risk analysis and control summary:

The dossier should contain a summary of the risks identified during the risk analysis process and how these risks have been controlled to an acceptable level. This risk analysis should be based on prescribed standards and be part of the manufacturer’s risk management plan based on complexity and risk class of the device.

7. Verification and validation of the medical device

7.1 General:

- The dossier should contain product verification and validation documentation. The dossier should summarize the results of verification and validation studies undertaken to demonstrate conformity of the device with the essential principles that apply to it.

- engineering tests; - laboratory tests; - simulated use testing;

- any animal tests for demonstrating feasibility or proof of concept of the finished device;

- any published literature regarding the device or substantially similar devices.

7.2 Biocompatibility:

- The dossier should contain a list of all materials in direct or indirect contact with the patient or user.

(ii) Where biocompatibility testing has been undertaken (as per prescribed standards) to characterize the physical, chemical, toxicological and biological response of a material, detailed information should be included on the tests conducted, standards applied, test protocols, the analysis of data and the summary of results. At a minimum, tests should be conducted on samples from the finished, sterilized (when supplied sterile) device.

(iii) Depending on nature and intended use of the investigational medical device, device performance for its actions (including mechanical, electrical, thermal, radiation and any other of this type) and safety should be assessed in healthy or diseased animal model (intended to be treated by such medical device), as appropriate, demonstrating reaction to active and basic parts of the devices on absolute tissue, local tissue as well as whole organ, clearly recording local, general and systemic adverse reactions, risks or potential risks and performance of device in line with intended use. Wherever possible, histopathology, pathophysiology and path anatomy should be carried out.

(iv) ISO-10993, Biological Evaluation of Medical Devices, should be followed for conducting bio-compatibility study for invasive medical devices should be carried out.

7.3 Medicinal substances:

Where the medical device incorporates a medicinal substance, the dossier should provide detailed information concerning that medicinal substance, its identity and source, the intended reason for its presence, and its safety and performance in the intended application.

7.4 Biological safety:

- The dossier should contain a list of all materials of animal or human origin used in the device. Transmissible Spongiform Encephalopathies (TSE) or Bovine Spongiform Encephalopathy (BSE) Certificates should also be submitted.

7.5 Sterilization:

- Where the device is supplied sterile, the dossier should contain the detailed information of the initial sterilization validation including sterilizer qualification, bioburden testing, pyrogen testing, testing for sterilant residues (if applicable) and packaging validation as per prescribed standards.

7.6 Software verification and validation:

The dossier should contain information on the software design and development process and evidence of the validation of the software, as used in the finished device. This information should typically include the summary results of all verification, validation and testing performed both in-house and in a simulated or actual user environment prior to final release. It should also address all of the different hardware configurations and, where applicable, operating systems identified in the labelling.

7.7 Animal studies:

- Where studies in an animal model have been undertaken to provide evidence of conformity with the Essential Principles related to functional safety and performance, detailed information should be contained in the dossier.

7.8 Stability data:

If available, real-time aging data shall be submitted to support the claimed shelf life. However, if real-time data is not available, accelerated stability data shall be submitted to support the claimed shelf life. Such a provisional claimed shelf life may be approved provided that the manufacturer immediately initiates real-time stability testing to validate the proposed shelf life. After completion of the real time stability analysis, real-time stability data shall be submitted in support of the claimed shelf life.

7.9 Clinical evidence:

The dossier should contain the clinical evidence that demonstrates conformity of the device with the Essential Principles that apply to it. It needs to address the elements contained in the Clinical Investigation, as specified under the Seventh Schedule. If a predicate device is available, the manufacturer needs to submit the substantial equivalence evaluation along with relevant published literature in accordance with these rules.

7.10 Post Marketing Surveillance data (Vigilance reporting):

The dossier should contain the Post Marketing Surveillance or Vigilance Reporting procedures and data collected by the manufacturer encompassing the details of the complaints received and corrective and Preventive actions taken for the same.